## Slide 1: Product selection tool
FUNCTIONS
PROJECTS
PRODUCTS
Emergency Lighting

## Slide 2: Select your project
DISTRIBUTOR SELECT
INDUSTRIAL
COMMERCIAL
ARCHITECTURAL
Home
Information on
TESTING SYSTEMS

## Slide 3: TESTING SYSTEMS
Our offering
Naveo®Pro
Smart monitoring system to manage emergency lighting with a mobile app
More information on Naveo®Pro
DALI
Integration for safe monitoring in smart buildings
IR2
Safe, fast and easy way to test emergency lighting
EMEX
Complete emergency lighting central system testing solution
More information on IR2
More information on DALI
More information on EMEX test

## Slide 4: Architectural
Modularity & harmonious design
Industrial reliability
GUIDEWAY
Innovative & stylish
Clearly visible in daylight
Uniform light distribution
In harmony with interior spaces
collection
SERENGA
In harmony with the interior
First-fix with optional mounting accessories
High output LED luminaires
Lightweight design for ease of installation
SERENGA 2
Project covering & stylish
Up to 12m height
Harmonizing with interior spaces
Long or wide beam + wall version
HYLED
Flexible & powerful
360 degrees turnable lamp unit, steady in position
High ceilings industrial environments
Home
Projects

## Slide 5: Commercial
Modularity & harmonious design
HORIZON
Traditional & versatile
Easy installation & maintenance
Industrial reliability
collection
OVANO
Productivity & Reliability
SILVER SCAPE
Practical & everyday
Home
Projects
CAMARQUE
Elegant LED lighting
CORDONA
Elegant LED lighting
DAYLITE
Practical & durable
NAVIGATOR COMPACT
Practical & everyday
WEATHERFORCE
Practical & durable
MIREVO TWINSPOT
Compact & reliable
MOVION
Modular and versatile
OPTIMA
Highly flexible

## Slide 6: Industrial
collection
Industrial reliabilty
INDULUX
Industrial & design
Mounting, wiring and expanding flexibility
Stainless steel solution resisting dust and water
Rapid maintenance
AQUALUX
Durable & high performance
Waterproof enclosures to IP65 & 67
Ease of maintenance with in-built Self-Test
LUTIA
Reliable & robust
First-fix and loop-in, loop-out systems minimalize installation time
One product concept for both wall and ceiling mounted
Robust design developed for outdoor applications
WEATHERFORCE
Practical & durable
Simple vandal resistant design
Converts easily to exit sign with addition of self-adhesive legend
Home
Projects

## Slide 7: Distributor select
collection
Easy installation & maintenance
PRIMEVO
Productivity & reliability
Available at your local wholesaler
Designed for escape route and open area lighting
Plug and play, maintained and non-maintained
Full LED range with best price / performance ratio
Home
Projects

## Slide 8: SILVER SCAPE
Suitable for application in suspended ceilings
Polycarbonate enclosure with wing fixings for recessed application
Optically engineered diffuser
TECHNOLOGIES
Naveo®Pro
Self test
Emex test
IR2
Standard
MOUNTING METHOD
Recessed
GENERAL
Practical and Everyday
FUNCTIONS
Open area
Exit sign
Escape route
SOLUTION TYPE
Self contained
Slave
PHOTOMETRY
Access files
Naveo®Pro Smart Monitoring System
SLIVER SCAPE web page
BIM files repository
ABB Emergi-Lite: Basic terminology
PROJECT TYPE
Commercial

## Slide 9: GUIDEWAY
Clearly visible in daylight
Uniform light distribution
In harmony with interior spaces
TECHNOLOGIES
Self test
Naveo®Pro
DALI
Emex test
Standard
MOUNTING METHOD
Recessed
Surface
GENERAL
Innovative and stylish
FUNCTIONS
Exit sign
SOLUTION TYPE
Self contained
Slave
VIEWING DISTANCE
22 m
32 m
Naveo®Pro Smart Monitoring System
GUIDEWAY web page
BIM files repository
ABB Emergi-Lite: Basic terminology
PROJECT TYPE
Architectural

## Slide 10: HORIZON
Clip on legend panel
Shape diffusor and contoured reflector
First-Fix aluminum base, polycarbonate body
TECHNOLOGIES
Self test
Naveo®Pro
Emex test
IR2
Standard
MOUNTING METHOD
Recessed
Surface
GENERAL
Traditional & versatile
FUNCTIONS
Exit sign
SOLUTION TYPE
Self contained
Slave
VIEWING DISTANCE
25 m
Naveo®Pro Smart Monitoring System
HORIZON web page
BIM files repository
ABB Emergi-Lite: Basic terminology
PROJECT TYPE
Commercial

## Slide 11: SERENGA
Manufactured from high grade polycarbonate
First-Fixe optional mounting accessories
High output LED luminaires
Light weight design for ease of installation
TECHNOLOGIES
Self test
Naveo®Pro
Emex test
IR2
Standard
MOUNTING METHOD
Surface
GENERAL
In harmony with the interior
FUNCTIONS
Exit sign
SOLUTION TYPE
Self contained
Slave
VIEWING DISTANCE
20 m
Naveo®Pro Smart Monitoring System
SERENGA web page
BIM files repository
ABB Emergi-Lite: Basic terminology
PROJECT TYPE
Architectural

## Slide 12: PRIMEVO
Available at your local wholesaler
Plug and play, maintained and non-maintained in one
Full LED range with best price/performance ratio
TECHNOLOGIES
Standard
Self Test
MOUNTING METHOD
Recessed
Surface
GENERAL
Productivity & reliability
FUNCTIONS
Exit sign
Open area
Escape route
SOLUTION TYPE
Self contained
VIEWING DISTANCE
20 m
24 m
Naveo®Pro Smart Monitoring System
PRIMEVO web page
BIM files repository
ABB Emergi-Lite: Basic terminology
PROJECT TYPE
Distributor select

## Slide 13: MirEvo Twinspot
Full adjustable heads with 140° beam angle
Available with Lithium Ferro phosphate (LiFePO4) battery technology for a longer service life
Suitable for commercial and industrial environments
TECHNOLOGIES
Standard
Self Test
Naveo®Pro
DALI
Emex test
MOUNTING METHOD
Surface
GENERAL
Compact & reliable
FUNCTIONS
Open area
Escape route
SOLUTION TYPE
Self contained
Slave
Naveo®Pro Smart Monitoring System
ABB Emergi-Lite: Basic terminology
PROJECT TYPE
Commercial

## Slide 14: AQUALUX
Waterproof enclosures to IP65 & IP67
Optimal LED performance
Ease of maintenance with in-built Self-Test
TECHNOLOGIES
Self test
Naveo®Pro
DALI
IR2
Emex test
Standard
MOUNTING METHOD
Surface
GENERAL
Durable & high performance
FUNCTIONS
Exit sign
Open area
Escape route
SOLUTION TYPE
Self contained
Slave
VIEWING DISTANCE
25 m
Naveo®Pro Smart Monitoring System
AQUALUX web page
BIM files repository
ABB Emergi-Lite: Basic terminology
PROJECT TYPE
Industrial

## Slide 15: INDULUX
Mounting, wiring and expanding flexibility
Stainless steel solution resisting dust and water (IP68)
Rapid maintenance with sliding electronic base module
TECHNOLOGIES
Self test
Naveo®Pro
Emex test
Standard
MOUNTING METHOD
Surface
GENERAL
Industrial & design
FUNCTIONS
Exit sign
Open area
Escape route
SOLUTION TYPE
Self contained
Slave
PHOTOMETRY
Access files
Naveo®Pro Smart Monitoring System
INDULUX web page
BIM files repository
ABB Emergi-Lite: Basic terminology
PROJECT TYPE
Industrial

## Slide 16: DAY-LITE EX-CEL
Sturdy, general use luminaire with screw-fix diffuser
Light optimized diffuser
LED version is suitable for fluorescent replacement requirements
TECHNOLOGIES
Self test
Naveo®Pro
Emex test
IR2
Standard
MOUNTING METHOD
Surface
GENERAL
Practical & durable
FUNCTIONS
Exit sign
Open area
Escape route
SOLUTION TYPE
Self contained
Slave
PHOTOMETRY
Access files
Naveo®Pro Smart Monitoring System
DAY-LITE EX-CEL web page
BIM files repository
ABB Emergi-Lite: Basic terminology
PROJECT TYPE
Commercial

## Slide 17: OVANO
Compatible with DALI control unit to control, test & monitor emergency lighting
Plug & play, maintained and non-maintained in one
Compact and decorative
TECHNOLOGIES
DALI
MOUNTING METHOD
Recessed
Surface
GENERAL
Productivity & reliability
FUNCTIONS
Exit sign
Open area
Escape route
SOLUTION TYPE
Self contained
PHOTOMETRY
Access files
Naveo®Pro Smart Monitoring System
Web page
BIM files repository
ABB Emergi-Lite: Basic terminology
PROJECT TYPE
Commercial

## Slide 18: NAVIGATOR COMPACT
Downlight panel provides additional illuminations at floor level
Available in white, gold and stainless-steel colors
TECHNOLOGIES
Self test
Naveo®Pro
IR2
Emex test
Standard
MOUNTING METHOD
Surface
GENERAL
Practical & everyday
FUNCTION
Exit sign
SOLUTION TYPE
Self contained
Slave
Naveo®Pro Smart Monitoring System
NAVIGATOR COMPACT web page
BIM files repository
ABB Emergi-Lite: Basic terminology
PROJECT TYPE
Commercial
VIEWING DISTANCE
32 m

## Slide 19: OPTIMA
Adaptable light and sign
Easy to install
Enhanced light distribution performance
TECHNOLOGIES
Emex test
Standard
Self test
MOUNTING METHOD
Surface
GENERAL
Highly flexible
FUNCTION
Exit sign
Escape route lighting
SOLUTION TYPE
Self contained
Slave
OPTIMA Web page
ABB Emergi-Lite: Basic terminology
PROJECT TYPE
Commercial
VIEWING DISTANCE
15 m

## Slide 20: WEATHERFORCE
Simple vandal resistant design
Converts easily to exit sign with addition of self-adhesive legend
TECHNOLOGIES
Self test
Naveo®Pro
Emex test
IR2
Standard
DALI
MOUNTING METHOD
Surface
GENERAL
Practical & durable
FUNCTIONS
Exit sign
Open area
Escape route
SOLUTION TYPE
Self contained
Slave
PHOTOMETRY
Access files
Naveo®Pro Smart Monitoring System
WEATHERFORCE web page
BIM files repository
ABB Emergi-Lite: Basic terminology
PROJECT TYPE
Industrial
Commercial

## Slide 21: SERENGA 2
Up to 12m high
3m ceiling height: 23m spacing
Harmonizing with interior spaces
Long or wide beam + version
TECHNOLOGIES
Self test
Naveo®Pro
DALI
Emex test
Standard
MOUNTING METHOD
Recessed
Surface
GENERAL
Project covering & stylish
FUNCTIONS
Open area
Escape route
SOLUTION TYPE
Self contained
Slave
PHOTOMETRY
Access files
Naveo®Pro Smart Monitoring System
SERENGA 2 web page
BIM files repository
ABB Emergi-Lite: Basic terminology
PROJECT TYPE
Architectural

## Slide 22: CAMARQUE
Fire-resistant polycarbonate luminaire body with opal diffuser
Angled and banded trim options in range of finishes
Semi-recessing accessory available
TECHNOLOGIES
Self test
Naveo®Pro
Emex test
IR2
Standard
MOUNTING METHOD
Surface
GENERAL
Elegant LED lighting
FUNCTIONS
General lighting
Open area
Escape route
SOLUTION TYPE
Self contained
Slave
PHOTOMETRY
Access files
Naveo®Pro Smart Monitoring System
CAMARQUE web page
BIM files repository
ABB Emergi-Lite: Basic terminology
PROJECT TYPE
Commercial

## Slide 23: CORDONA
LED light source / optional fluorescent
Polycarbonate luminaire body with clear or translucent diffuser
Hinged gear tray for easy access
Semi-recessing accessory available
TECHNOLOGIES
Self test
Naveo®Pro
Emex test
IR2
Standard
DALI
MOUNTING METHOD
Surface
GENERAL
Elegant LED lighting
FUNCTIONS
General lighting
Open area
Escape route
SOLUTION TYPE
Self contained
Slave
PHOTOMETRY
Access files
Naveo®Pro Smart Monitoring System
CORDONA web page
BIM files repository
ABB Emergi-Lite: Basic terminology
PROJECT TYPE
Commercial

## Slide 24: HYLED
360 degrees turnable lamp unit, steady position
High ceilings industrial environments
Mounting and assembly flexibility onto pillars, cable tray, ceilings, etc
TECHNOLOGIES
Self test
Naveo®Pro
Emex test
Standard
DALI
MOUNTING METHOD
Surface
GENERAL
Flexible & powerful
FUNCTIONS
Open area
Escape route
SOLUTION TYPE
Self contained
Slave
PHOTOMETRY
Access files
Naveo®Pro Smart Monitoring System
HYLED web page
BIM files repository
ABB Emergi-Lite: Basic terminology
PROJECT TYPE
Architectural

## Slide 25: LUTIA
First-fix and loop-in, loop-out systems minimalize installation time
One product concept for both wall and ceiling mounted
Robust design developed for outdoor applications
TECHNOLOGIES
Naveo®Pro
Self test
Emex test
Standard
DALI
MOUNTING METHOD
Surface
GENERAL
Reliable & robust
FUNCTIONS
General lighting
Open area
Escape route
SOLUTION TYPE
Self contained
Slave
PHOTOMETRY
Access files
Naveo®Pro Smart Monitoring System
LUTIA web page
BIM files repository
ABB Emergi-Lite: Basic terminology
PROJECT TYPE
Industrial

## Slide 26: MOVION
One version available for wall and ceiling mount
Strong light distribution with 500 cd/m²
Light track mountable with 3C adapter included
Recess kit for flush mounting available
TECHNOLOGIES
Naveo®Pro
DALI
Self Test
Standard
FLX
Emex test
MOUNTING METHOD
Surface
Recessed
GENERAL
Modular and Versatile
FUNCTIONS
Exit Sign & Escape route
SOLUTION TYPE
Self contained
Slave
PHOTOMETRY
Access files
Naveo®Pro Smart Monitoring System
PROJECT TYPE
Commercial
MOVION Web page
ABB Emergi-Lite: Basic terminology

## Slide 27: MOVION
Exit sign & Escape route
Home
Function
Movion
Product Page
Order Code | GID Number | Description | Technology | 
411113111/50 | 7TCA305020R0072 | XTH800S-M3/ST 22M | Self test | Self contained
411113211/50 | 7TCA305020R0073 | XTH800S-M3/DALI 22M | DALI | Self contained
411113311/50 | 7TCA305020R0074 | XTH800S-M3/COM 22M | Naveo®Pro WIRED | Self contained
411112811/50 | 7TCA305020R0075 | XTH800S-230 22M | Standard | Slave
411112711/50 | 7TCA305020R0076 | XTH800S-230/FLX 22M | FLX | Slave
411112611/50 | 7TCA305020R0077 | XTH800S-230/LTC 22M | Emex test | Slave
511013111/50 | 7TCA305020R0092 | EL800S-M3/ST ER | Self test | Self contained
511013211/50 | 7TCA305020R0093 | EL800S-M3/DALI ER | DALI | Self contained
511013311/50 | 7TCA305020R0094 | EL800S-M3/COM ER | Naveo®Pro WIRED | Self contained
511012811/50 | 7TCA305020R0095 | EL800S-230 ER | Standard | Slave
511012711/50 | 7TCA305020R0096 | EL800S-230/FLX ER | FLX | Slave
511012611/50 | 7TCA305020R0097 | EL800S-230/LTC ER | Emex test | Slave
Click on any item to access product sheet

## Slide 28: MOVION
Exit sign & Escape route
Home
Function
Movion
Product Page
Order Code | GID Number | Description | Technology | 
511013112/50 | 7TCA305020R0098 | EL800S-M3/ST OA | Self test | Self contained
511013212/50 | 7TCA305020R0099 | EL800S-M3/DALI OA | DALI | Self contained
511013312/50 | 7TCA305020R0100 | EL800S-M3/COM OA | Naveo®Pro WIRED | Self contained
511012812/50 | 7TCA305020R0101 | EL800S-230 OA | Standard | Slave
511012712/50 | 7TCA305020R0102 | EL800S-230/FLX OA | FLX | Slave
511012612/50 | 7TCA305020R0103 | EL800S-230/LTC OA | Emex test | Slave
511013121/50 | 7TCA305020R0104 | EL800R-M3/ST ER | Self test | Self contained
511013221/50 | 7TCA305020R0105 | EL800R-M3/DALI ER | DALI | Self contained
511013321/50 | 7TCA305020R0106 | EL800R-M3/COM ER | Naveo®Pro WIRED | Self contained
511012821/50 | 7TCA305020R0107 | EL800R-230 ER | Standard | Slave
511012721/50 | 7TCA305020R0108 | EL800R-230/FLX ER | FLX | Slave
511012621/50 | 7TCA305020R0109 | EL800R-230/LTC ER | Emex test | Slave
Click on any item to access product sheet

## Slide 29: MOVION
Exit sign & Escape route
Home
Function
Movion
Product Page
Order Code | GID Number | Description | Technology | 
511013122/50 | 7TCA305020R0110 | EL800R-M3/ST OA | Self test | Self contained
511013222/50 | 7TCA305020R0111 | EL800R-M3/DALI OA | DALI | Self contained
511013322/50 | 7TCA305020R0112 | EL800R-M3/COM OA | Naveo®Pro WIRED | Self contained
511012822/50 | 7TCA305020R0113 | EL800R-230 OA | Standard | Slave
511012722/50 | 7TCA305020R0114 | EL800R-230/FLX OA | FLX | Slave
511012622/50 | 7TCA305020R0115 | EL800R-230/LTC OA | Emex test | Slave
411013311/50 | 7TCA305020R0068 | XT800S-M3/COM 22M | Naveo®Pro WIRED | Self contained
411013411/50BT | 7TCA305020R0144 | XT800S-M3/BT 22M | Naveo®Pro WIRELESS | Self contained
411113411/50BT | 7TCA305020R0145 | XTH800S-M3/BT 22M | Naveo®Pro WIRELESS | Self contained
511013411/50BT | 7TCA305020R0148 | EL800S-M3/BT ER | Naveo®Pro WIRELESS | Self contained
511013412/50BT | 7TCA305020R0149 | EL800S-M3/BT OA | Naveo®Pro WIRELESS | Self contained
511013421/50BT | 7TCA305020R0150 | EL800R-M3/BT ER | Naveo®Pro WIRELESS | Self contained
511013422/50BT | 7TCA305020R0151 | EL800R-M3/BT OA | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet

## Slide 30: MOVION
Naveo®Pro
Home
Function
Movion
Product Page
Order Code | GID Number | Description | Technology | 
411013311/50 | 7TCA305020R0068 | XT800S-M3/COM 22M | Naveo®Pro WIRED | Self contained
411113311/50 | 7TCA305020R0074 | XTH800S-M3/COM 22M | Naveo®Pro WIRED | Self contained
511013311/50 | 7TCA305020R0094 | EL800S-M3/COM ER | Naveo®Pro WIRED | Self contained
511013312/50 | 7TCA305020R0100 | EL800S-M3/COM OA | Naveo®Pro WIRED | Self contained
511013321/50 | 7TCA305020R0106 | EL800R-M3/COM ER | Naveo®Pro WIRED | Self contained
511013322/50 | 7TCA305020R0112 | EL800R-M3/COM OA | Naveo®Pro WIRED | Self contained
411013411/50BT | 7TCA305020R0144 | XT800S-M3/BT 22M | Naveo®Pro WIRELESS | Self contained
411113411/50BT | 7TCA305020R0145 | XTH800S-M3/BT 22M | Naveo®Pro WIRELESS | Self contained
511013411/50BT | 7TCA305020R0148 | EL800S-M3/BT ER | Naveo®Pro WIRELESS | Self contained
511013412/50BT | 7TCA305020R0149 | EL800S-M3/BT OA | Naveo®Pro WIRELESS | Self contained
511013421/50BT | 7TCA305020R0150 | EL800R-M3/BT ER | Naveo®Pro WIRELESS | Self contained
511013422/50BT | 7TCA305020R0151 | EL800R-M3/BT OA | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet
More information on
Naveo®Pro technology

## Slide 31: MOVION
DALI
Home
Function
Movion
Product Page
Order Code | GID Number | Description | Technology | 
411013211/50 | 7TCA305020R0066 | XT800S-M3/DALI 22M | DALI | Self contained
411113211/50 | 7TCA305020R0073 | XTH800S-M3/DALI 22M | DALI | Self contained
511013211/50 | 7TCA305020R0093 | EL800S-M3/DALI ER | DALI | Self contained
511013212/50 | 7TCA305020R0099 | EL800S-M3/DALI OA | DALI | Self contained
511013221/50 | 7TCA305020R0105 | EL800R-M3/DALI ER | DALI | Self contained
511013222/50 | 7TCA305020R0111 | EL800R-M3/DALI OA | DALI | Self contained
Click on any item to access product sheet

## Slide 32: MOVION
Self test
Home
Function
Movion
Product Page
Order Code | GID Number | Description | Technology | 
411013111/50 | 7TCA305020R0067 | XT800S-M3/ST 22M | Self test | Self contained
411113111/50 | 7TCA305020R0072 | XTH800S-M3/ST 22M | Self test | Self contained
511013111/50 | 7TCA305020R0092 | EL800S-M3/ST ER | Self test | Self contained
511013112/50 | 7TCA305020R0098 | EL800S-M3/ST OA | Self test | Self contained
511013121/50 | 7TCA305020R0104 | EL800R-M3/ST ER | Self test | Self contained
511013122/50 | 7TCA305020R0110 | EL800R-M3/ST OA | Self test | Self contained
Click on any item to access product sheet

## Slide 33: MOVION
Standard
Home
Function
Movion
Product Page
Order Code | GID Number | Description | Technology | 
411012811/50 | 7TCA305020R0069 | XT800S-230 22M | Standard | Slave
411112811/50 | 7TCA305020R0075 | XTH800S-230 22M | Standard | Slave
511012811/50 | 7TCA305020R0095 | EL800S-230 ER | Standard | Slave
511012812/50 | 7TCA305020R0101 | EL800S-230 OA | Standard | Slave
511012821/50 | 7TCA305020R0107 | EL800R-230 ER | Standard | Slave
511012822/50 | 7TCA305020R0113 | EL800R-230 OA | Standard | Slave
Click on any item to access product sheet

## Slide 34: MOVION
FLX
Home
Function
Movion
Product Page
Order Code | GID Number | Description | Technology | 
411012711/50 | 7TCA305020R0070 | XT800S-230/FLX 22M | FLX | Slave
411112711/50 | 7TCA305020R0076 | XTH800S-230/FLX 22M | FLX | Slave
511012711/50 | 7TCA305020R0096 | EL800S-230/FLX ER | FLX | Slave
511012712/50 | 7TCA305020R0102 | EL800S-230/FLX OA | FLX | Slave
511012721/50 | 7TCA305020R0108 | EL800R-230/FLX ER | FLX | Slave
511012722/50 | 7TCA305020R0114 | EL800R-230/FLX OA | FLX | Slave
Click on any item to access product sheet

## Slide 35: MOVION
Emex test
Home
Function
Movion
Product Page
Order Code | GID Number | Description | Technology | 
411012611/50 | 7TCA305020R0071 | XT800S-230/LTC 22M | Emex test | Slave
411112611/50 | 7TCA305020R0077 | XTH800S-230/LTC 22M | Emex test | Slave
511012611/50 | 7TCA305020R0097 | EL800S-230/LTC ER | Emex test | Slave
511012612/50 | 7TCA305020R0103 | EL800S-230/LTC OA | Emex test | Slave
511012621/50 | 7TCA305020R0109 | EL800R-230/LTC ER | Emex test | Slave
511012622/50 | 7TCA305020R0115 | EL800R-230/LTC OA | Emex test | Slave
Click on any item to access product sheet

## Slide 36: MOVION
Surface
Home
Function
Movion
Product Page
Order Code | GID Number | Description | Technology | 
411013111/50 | 7TCA305020R0067 | XT800S-M3/ST 22M | Self test | Self contained
411013211/50 | 7TCA305020R0066 | XT800S-M3/DALI 22M | DALI | Self contained
411013311/50 | 7TCA305020R0068 | XT800S-M3/COM 22M | Naveo®Pro WIRED | Self contained
411012811/50 | 7TCA305020R0069 | XT800S-230 22M | Standard | Slave
411012711/50 | 7TCA305020R0070 | XT800S-230/FLX 22M | FLX | Slave
411012611/50 | 7TCA305020R0071 | XT800S-230/LTC 22M | Emex test | Slave
411113111/50 | 7TCA305020R0072 | XTH800S-M3/ST 22M | Self test | Self contained
411113211/50 | 7TCA305020R0073 | XTH800S-M3/DALI 22M | DALI | Self contained
411113311/50 | 7TCA305020R0074 | XTH800S-M3/COM 22M | Naveo®Pro WIRED | Self contained
411112811/50 | 7TCA305020R0075 | XTH800S-230 22M | Standard | Slave
411112711/50 | 7TCA305020R0076 | XTH800S-230/FLX 22M | FLX | Slave
411112611/50 | 7TCA305020R0077 | XTH800S-230/LTC 22M | Emex test | Slave
511013111/50 | 7TCA305020R0092 | EL800S-M3/ST ER | Self test | Self contained
511013211/50 | 7TCA305020R0093 | EL800S-M3/DALI ER | DALI | Self contained
511013311/50 | 7TCA305020R0094 | EL800S-M3/COM ER | Naveo®Pro WIRED | Self contained
Click on any item to access product sheet

## Slide 37: MOVION
Surface
Home
Function
Movion
Product Page
Order Code | GID Number | Description | Technology | 
511012811/50 | 7TCA305020R0095 | EL800S-230 ER | Standard | Slave
511012711/50 | 7TCA305020R0096 | EL800S-230/FLX ER | FLX | Slave
511012611/50 | 7TCA305020R0097 | EL800S-230/LTC ER | Emex test | Slave
511013112/50 | 7TCA305020R0098 | EL800S-M3/ST OA | Self test | Self contained
511013212/50 | 7TCA305020R0099 | EL800S-M3/DALI OA | DALI | Self contained
511013312/50 | 7TCA305020R0100 | EL800S-M3/COM OA | Naveo®Pro WIRED | Self contained
511012812/50 | 7TCA305020R0101 | EL800S-230 OA | Standard | Slave
511012712/50 | 7TCA305020R0102 | EL800S-230/FLX OA | FLX | Slave
511012612/50 | 7TCA305020R0103 | EL800S-230/LTC OA | Emex test | Slave
411013411/50BT | 7TCA305020R0144 | XT800S-M3/BT 22M | Naveo®Pro WIRELESS | Self contained
411113411/50BT | 7TCA305020R0145 | XTH800S-M3/BT 22M | Naveo®Pro WIRELESS | Self contained
511013411/50BT | 7TCA305020R0148 | EL800S-M3/BT ER | Naveo®Pro WIRELESS | Self contained
511013412/50BT | 7TCA305020R0149 | EL800S-M3/BT OA | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet

## Slide 38: MOVION
Recessed
Home
Function
Movion
Product Page
Order Code | GID Number | Description | Technology | 
511013121/50 | 7TCA305020R0104 | EL800R-M3/ST ER | Self test | Self contained
511013221/50 | 7TCA305020R0105 | EL800R-M3/DALI ER | DALI | Self contained
511013321/50 | 7TCA305020R0106 | EL800R-M3/COM ER | Naveo®Pro WIRED | Self contained
511012821/50 | 7TCA305020R0107 | EL800R-230 ER | Standard | Slave
511012721/50 | 7TCA305020R0108 | EL800R-230/FLX ER | FLX | Slave
511012621/50 | 7TCA305020R0109 | EL800R-230/LTC ER | Emex test | Slave
511013122/50 | 7TCA305020R0110 | EL800R-M3/ST OA | Self test | Self contained
511013222/50 | 7TCA305020R0111 | EL800R-M3/DALI OA | DALI | Self contained
511013322/50 | 7TCA305020R0112 | EL800R-M3/COM OA | Naveo®Pro WIRED | Self contained
511012822/50 | 7TCA305020R0113 | EL800R-230 OA | Standard | Slave
511012722/50 | 7TCA305020R0114 | EL800R-230/FLX OA | FLX | Slave
511012622/50 | 7TCA305020R0115 | EL800R-230/LTC OA | Emex test | Slave
511013421/50BT | 7TCA305020R0150 | EL800R-M3/BT ER | Naveo®Pro WIRELESS | Self contained
511013422/50BT | 7TCA305020R0151 | EL800R-M3/BT OA | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet

## Slide 39: MOVION
Self contained
Home
Function
Movion
Product Page
Order Code | GID Number | Description | Technology | 
411013111/50 | 7TCA305020R0067 | XT800S-M3/ST 22M | Self test | Self contained
411013211/50 | 7TCA305020R0066 | XT800S-M3/DALI 22M | DALI | Self contained
411013311/50 | 7TCA305020R0068 | XT800S-M3/COM 22M | Naveo®Pro WIRED | Self contained
411113111/50 | 7TCA305020R0072 | XTH800S-M3/ST 22M | Self test | Self contained
411113211/50 | 7TCA305020R0073 | XTH800S-M3/DALI 22M | DALI | Self contained
411113311/50 | 7TCA305020R0074 | XTH800S-M3/COM 22M | Naveo®Pro WIRED | Self contained
511013111/50 | 7TCA305020R0092 | EL800S-M3/ST ER | Self test | Self contained
511013211/50 | 7TCA305020R0093 | EL800S-M3/DALI ER | DALI | Self contained
511013311/50 | 7TCA305020R0094 | EL800S-M3/COM ER | Naveo®Pro WIRED | Self contained
511013112/50 | 7TCA305020R0098 | EL800S-M3/ST OA | Self test | Self contained
511013212/50 | 7TCA305020R0099 | EL800S-M3/DALI OA | DALI | Self contained
Click on any item to access product sheet

## Slide 40: MOVION
Self contained
Home
Function
Movion
Product Page
Order Code | GID Number | Description | Technology | 
511013312/50 | 7TCA305020R0100 | EL800S-M3/COM OA | Naveo®Pro WIRED | Self contained
511013121/50 | 7TCA305020R0104 | EL800R-M3/ST ER | Self test | Self contained
511013221/50 | 7TCA305020R0105 | EL800R-M3/DALI ER | DALI | Self contained
511013321/50 | 7TCA305020R0106 | EL800R-M3/COM ER | Naveo®Pro WIRED | Self contained
511013122/50 | 7TCA305020R0110 | EL800R-M3/ST OA | Self test | Self contained
511013222/50 | 7TCA305020R0111 | EL800R-M3/DALI OA | DALI | Self contained
511013322/50 | 7TCA305020R0112 | EL800R-M3/COM OA | Naveo®Pro WIRED | Self contained
411013411/50BT | 7TCA305020R0144 | XT800S-M3/BT 22M | Naveo®Pro WIRELESS | Self contained
411113411/50BT | 7TCA305020R0145 | XTH800S-M3/BT 22M | Naveo®Pro WIRELESS | Self contained
511013411/50BT | 7TCA305020R0148 | EL800S-M3/BT ER | Naveo®Pro WIRELESS | Self contained
511013412/50BT | 7TCA305020R0149 | EL800S-M3/BT OA | Naveo®Pro WIRELESS | Self contained
511013421/50BT | 7TCA305020R0150 | EL800R-M3/BT ER | Naveo®Pro WIRELESS | Self contained
511013422/50BT | 7TCA305020R0151 | EL800R-M3/BT OA | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet

## Slide 41: MOVION
Slave
Home
Function
Movion
Product Page
Order Code | GID Number | Description | Technology | 
411012811/50 | 7TCA305020R0069 | XT800S-230 22M | Standard | Slave
411012711/50 | 7TCA305020R0070 | XT800S-230/FLX 22M | FLX | Slave
411012611/50 | 7TCA305020R0071 | XT800S-230/LTC 22M | Emex test | Slave
411112811/50 | 7TCA305020R0075 | XTH800S-230 22M | Standard | Slave
411112711/50 | 7TCA305020R0076 | XTH800S-230/FLX 22M | FLX | Slave
411112611/50 | 7TCA305020R0077 | XTH800S-230/LTC 22M | Emex test | Slave
511012811/50 | 7TCA305020R0095 | EL800S-230 ER | Standard | Slave
511012711/50 | 7TCA305020R0096 | EL800S-230/FLX ER | FLX | Slave
511012611/50 | 7TCA305020R0097 | EL800S-230/LTC ER | Emex test | Slave
511012812/50 | 7TCA305020R0101 | EL800S-230 OA | Standard | Slave
511012712/50 | 7TCA305020R0102 | EL800S-230/FLX OA | FLX | Slave
511012612/50 | 7TCA305020R0103 | EL800S-230/LTC OA | Emex test | Slave
511012821/50 | 7TCA305020R0107 | EL800R-230 ER | Standard | Slave
511012721/50 | 7TCA305020R0108 | EL800R-230/FLX ER | FLX | Slave
Click on any item to access product sheet

## Slide 42: MOVION
Slave
Home
Function
Movion
Product Page
Order Code | GID Number | Description | Technology | 
511012822/50 | 7TCA305020R0113 | EL800R-230 OA | Standard | Slave
511012722/50 | 7TCA305020R0114 | EL800R-230/FLX OA | FLX | Slave
511012622/50 | 7TCA305020R0115 | EL800R-230/LTC OA | Emex test | Slave
Click on any item to access product sheet

## Slide 43: Naveo®Pro
Smart Monitoring System
WIRED | Order Code | GID Number
Monitoring system |  | 
Gateway | 51000040 | 7TCA305060R0000
Gateway + iPad WIFI | 51000041 | 7TCA305060R0004
Gateway + iPad 4G | 51000042 | 7TCA305060R0003
Accessories |  | 
Antenna | 758730 | 7TCA307020R0012
Wall mounting plate | 758740 | 7TCA307020R0013
More information on dedicated web page :Naveo®Pro
Ensuring you maintain and record the health status of your emergency lighting in all types of buildings, is a simple achievement with the Naveo®Pro monitoring system.
The system provides a digital overview via the cloud, giving instant information to assist resource planning and enhance building safety.
Naveo®Pro is a transparent and proactive way to install, monitor and maintain emergency lighting systems with your mobile device. You’re in control of your buildings safety systems.
With the Naveo®Pro app, emergency luminaires can be easily installed and programmed into a building in a fast and intuitive way, offering various functionalities to reduce time and costs on inspection and maintenance.
WIRELESS | Order Code | GID Number
Monitoring system |  | 
Gateway | 51000045 | 7TCA305060R0006
IPAD WIFI 32GO+NAVEOPRO GW WIRELESS | 51000046 | 7TCA305060R0007
IPAD WIFI+CELL+NAVEOPRO GW WIRELESS | 51000047 | 7TCA305060R0008

## Slide 44: SILVER SCAPE
Open area
Home
Function
Order Code | GID Number | Description | Technology | 
CTRRB3LS1X | 7TCA091180R0350 | RECSD B/HEAD 2W M3 LED WHT CT | Naveo | Self Contained
IR2RRB3LS1X | 7TCA091170R0034 | RECSD B/HEAD 2W M3 LED WHT IR2 | IR2 | Self Contained
LTCRRB1LS1X | 7TCA091140R0539 | LED 2W LTC SILVERSCAPE RECESS | Emex | Slave
RB8LS1X | 7TCA091130R0545 | LED 2W 50V ACDC SILVERSCAPE RECESS | Standard | Slave
RRB1LS1X | 7TCA091140R0539 | LED 2W HF SILVERSCAPE RECESS | Standard | Slave
STRRB3LS1X | 7TCA091160R0569 | RECSD B/HEAD 2W M3 LED WHT SLFTST | Self test | Self Contained
CTRRB3LS1X | 7TCA091180R0350 | RECSD B/HEAD 2W M3 LED WHT CT | Naveo®Pro WIRED | Self Contained
CTRRB3LS1XBT | 7TCA305020R0204 | XTE510R-M3/BT | Naveo®Pro WIRELESS | Self Contained
Silver Scape Product Page
Click on any item to access product sheet

## Slide 45: SILVER SCAPE
Exit sign
Home
Function
Order Code | GID Number | Description | Technology | 
CTRRB3LS1X | 7TCA091180R0350 | RECSD B/HEAD 2W M3 LED WHT CT | Naveo | Self Contained
IR2RRB3LS1X | 7TCA091170R0034 | RECSD B/HEAD 2W M3 LED WHT IR2 | IR2 | Self Contained
LTCRRB1LS1X | 7TCA091140R0539 | LED 2W LTC SILVERSCAPE RECESS | Emex | Slave
RB8LS1X | 7TCA091130R0545 | LED 2W 50V ACDC SILVERSCAPE RECESS | Standard | Slave
RRB1LS1X | 7TCA091140R0539 | LED 2W HF SILVERSCAPE RECESS | Standard | Slave
STRRB3LS1X | 7TCA091160R0569 | RECSD B/HEAD 2W M3 LED WHT SLFTST | Self test | Self Contained
CTRRB3LS1X | 7TCA091180R0350 | RECSD B/HEAD 2W M3 LED WHT CT | Naveo®Pro WIRED | Self Contained
CTRRB3LS1XBT | 7TCA305020R0204 | XTE510R-M3/BT | Naveo®Pro WIRELESS | Self Contained
Silver Scape Product Page
Click on any item to access product sheet

## Slide 46: SILVER SCAPE
Escape route
Home
Function
Order Code | GID Number | Description | Technology | 
CTRRB3LS1X | 7TCA091180R0350 | RECSD B/HEAD 2W M3 LED WHT CT | Naveo | Self Contained
IR2RRB3LS1X | 7TCA091170R0034 | RECSD B/HEAD 2W M3 LED WHT IR2 | IR2 | Self Contained
LTCRRB1LS1X | 7TCA091140R0539 | LED 2W LTC SILVERSCAPE RECESS | Emex | Slave
RB8LS1X | 7TCA091130R0545 | LED 2W 50V ACDC SILVERSCAPE RECESS | Standard | Slave
RRB1LS1X | 7TCA091140R0539 | LED 2W HF SILVERSCAPE RECESS | Standard | Slave
STRRB3LS1X | 7TCA091160R0569 | RECSD B/HEAD 2W M3 LED WHT SLFTST | Self test | Self Contained
CTRRB3LS1X | 7TCA091180R0350 | RECSD B/HEAD 2W M3 LED WHT CT | Naveo®Pro WIRED | Self Contained
CTRRB3LS1XBT | 7TCA305020R0204 | XTE510R-M3/BT | Naveo®Pro WIRELESS | Self Contained
Silver Scape Product Page
Click on any item to access product sheet

## Slide 47: GUIDEWAY
Exit sign
Home
Function
Guideway
Product Page
Order Code | GID Number | Description | Technology | 
CTEGR3LS1-S22 | 7TCA091180R0254 | REC LED SIGN M3 CT-TST 22M | Naveo®Pro WIRED | Self Contained
EGR1LS1D-S22 | 7TCA091130R0406 | REC LED SIGN 230DIM 22M | Standard | Slave
EGR1LS1LTC-S22 | 7TCA091140R0530 | REC LED SIGN SLAVE LTC 230VAC 22M | Emex test | Slave
EGR1LS1-S22 | 7TCA091130R0408 | REC LED SIGN SLAVE 230VAC 22M | Standard | Slave
EGR3LS1-S22 | 7TCA091160R0361 | REC LED SIGN M3 22M | Self test | Self Contained
DAEGR3LS1-S22 | 7TCA091180R0340 | REC LED SIGN M3 22M DALI | DALI | Self Contained
CTEGR3LS1-S32 | 7TCA091180R0255 | REC LED SIGN M3 CT-TST 32M | Naveo®Pro WIRED | Self Contained
EGR1LS1D-S32 | 7TCA091130R0407 | REC LED SIGN SLAVE 230DIM 32M | Standard | Slave
EGR1LS1LTC-S32 | 7TCA091140R0531 | REC LED SIGN SLAVE LTC 230 VAC 32M | Emex test | Slave
EGR1LS1-S32 | 7TCA091130R0409 | REC LED SIGN SLAVE 230 VAC 32M | Standard | Slave
EGR3LS1-S32 | 7TCA091160R0362 | REC LED SIGN M3 32M | Self test | Self Contained
DAEGR3LS1-S32 | 7TCA091180R0341 | REC LED SIGN M3 32M DALI | DALI | Self Contained
4510236162/50BT | 7TCA305020R0210 | XT3300R-M3/BT 22M ALU | Naveo®Pro WIRELESS | Self Contained
4510236163/50BT | 7TCA305020R0211 | XT3300R-M3/BT 32M ALU | Naveo®Pro WIRELESS | Self Contained
Next
Click on any item to access product sheet

## Slide 48: GUIDEWAY
Exit sign
Home
Function
Guideway
Product Page
Order Code | GID Number | Description | Technology | 
CTEG3LS1-S22 | 7TCA091180R0256 | LED SIGN M3 CT-TST 22M | Naveo®Pro WIRED | Self Contained
EG1LS1D-S22 | 7TCA091130R0402 | LED SIGN SLAVE 230VAC DIM 22M | Standard | Slave
EG1LS1LTC-S22 | 7TCA091140R0527 | LED SIGN SLAVE LTC 230VAC 22M | Emex Test | Slave
EG1LS1-S22 | 7TCA091130R0404 | LED SIGN SLAVE 230VAC 22M | Standard | Slave
EG3LS1-S22 | 7TCA091160R0359 | LED SIGN M3 22M | Self test | Self Contained
DAEG3LS1-S22 | 7TCA091180R0338 | LED SIGN M3 22M DALI | DALI | Self Contained
CTEG3LS1-S32 | 7TCA091180R0257 | LED SIGN M3 CT-TST 32M | Naveo®Pro WIRED | Self Contained
EG1LS1D-S32 | 7TCA091130R0403 | LED SIGN SLAVE 230VAC DIM 32M | Standard | Slave
EG1LS1LTC-S32 | 7TCA091140R0524 | LED SIGN SLAVE LTC 230VAC 32M | Emex test | Slave
EG1LS1-S32 | 7TCA091130R0405 | LED SIGN SLAVE 230VAC 32M | Standard | Slave
EG3LS1-S32 | 7TCA091160R0360 | LED SIGN M3 32M | Self test | Self Contained
DAEG3LS1-S32 | 7TCA091180R0339 | LED SIGN M3 32M DALI | DALI | Self Contained
4510236152/50BT | 7TCA305020R0293 | XT3300S-M3/BT 22M ALU | Naveo®Pro WIRELESS | Self Contained
4513216153/50BT | 7TCA305020R0307 | XT3300S-M3/BT 32M ALU | Naveo®Pro WIRELESS | Self Contained
Previous
Click on any item to access product sheet

## Slide 49: HORIZON
Exit sign
Home
Function
Horizon
Product Page
Order Code | GID Number | Description | Technology | 
CTOH3L261 | 7TCA091180R0114 | CT 2LED SIGN M3 | Naveo | Self contained
IR2OH3L261 | 7TCA091170R0006 | 2LED M3 IR2 | IR2 | Self contained
OH3L261 | 7TCA091160R0198 | 2LED SIGN M3 | Self test | Self contained
OH1L261HF | 7TCA091130R0243 | 2XLED SIGN 230VHF | Standard | Slave
OH1L261LTC | 7TCA091090R0036 | 2XLED SIGN 230VLTC | Standard | Slave
CTOZ3L261 | 7TCA091180R0116 | CT 2LED REC-SIGN M3 | Naveo | Self contained
IR2OZ3L261 | 7TCA091170R0009 | REC 2LED M3 IR2 | IR2 | Self contained
OZ3L261 | 7TCA091070R0096 | 2LED REC-SIGN M3 | Self test | Self contained
OZ1L261HF | 7TCA091070R0095 | 2XLED REC-SIGN 230VHF | Standard | Slave
OZ1L261LTC | 7TCA091090R0040 | 2XLED REC-SIGN 230VLTC | Standard | Slave
OH3L261V2 | 7TCA091160R0300 | 2LEDS SIGN M3 220V60HZ | Self test | Self contained
OZ3L261V2 | 7TCA091160R0301 | 2LED REC-SIGN M3 60HZ | Self test | Self contained
Click on any item to access product sheet

## Slide 50: HORIZON
Exit sign
Home
Function
Horizon
Product Page
Order Code | GID Number | Description | Technology | 
OZD3LS61V2 | 7TCA091160R0302 | LEDS REC-EDGE SIGN M3 60HZ | Self test | Self contained
CTOHD3LS61 | 7TCA091180R0115 | CT LEDS EDGE SIGH M3 | Naveo | Self contained
CTOZD3LS61 | 7TCA091180R0117 | CT LED REC-EDGE SIGN M3 | Naveo | Self contained
IR2OHD3LS61 | 7TCA091170R0007 | D-S LEDS M3 IR2 | IR2 | Self contained
IR2OZD3LS61 | 7TCA091170R0010 | REC D-S LEDS M3 IR2 | IR2 | Self contained
OHD1LS61HF | 7TCA091130R0244 | LEDS EDGE SIGN 230VHF | Standard | Slave
OHD1LS61LTC | 7TCA091090R0037 | LEDS EDGE SIGN 230VLTC | Emex test | Slave
OHD3LS61 | 7TCA091160R0199 | LEDS EDGE SIGN M3 | Self test | Self contained
OZD1LS61HF | 7TCA091070R0097 | LEDS REC-EDG SIGN 230HF | Standard | Slave
OZD1LS61LTC | 7TCA091090R0041 | LEDS REC-EDG SIGN 230LTC | Emex test | Slave
OZD3LS61 | 7TCA091160R0202 | LEDS REC-EDGE SIGN M3 | Self test | Self contained
Click on any item to access product sheet

## Slide 51: SERENGA
Click on any item to access product sheet
Exit sign
Home
Function
Serenga
Product Page
Order Code | GID Number | Description | Technology | 
SER-M3-003 | 7TCA091160R0222 | Control module & battery pack | Self test | Self contained
CTSER-M3-003 | 7TCA091180R0127 | Control module & battery pack, CT version | Naveo | Self contained
CTSER-M3V2-003 | 7TCA091180R0258 | Control module & battery pack, CT version | Naveo | Self contained
IR2SER-M3-003 | 7TCA091170R0020 | Control module & battery pack, IR2 version | IR2 | Self contained
SER-M3V2-003 | 7TCA091070R0098 | Control module & battery pack | Self test | Self contained
SER-230-003 | 7TCA091130R0248 | Control module mains | Standard | Slave
SER-230LTC-003 | 7TCA091140R0216 | Control module, LTC version | Emex test | Slave

## Slide 52: PRIMEVO
Exit sign
Home
Function
Primevo
Product Page
Order Code | GID Number | Description | Technology | 
XT100E | 7TCA091160R0499 | PrimEvo Bulkhead | Standard | Self contained
XT200E | 7TCA091720R0090 | PrimEvo Exit Sign | Standard | Self contained
XT200ST | 7TCA091720R0192 | Primevo ST Blade Exit Sign c/w Legend | Self test | Self contained
XT100ST | 7TCA091160R0583 | Primevo ST Bulkhead c/w Exit Sign Legend | Self test | Self contained
Click on any item to access product sheet

## Slide 53: PRIMEVO
Open area
Home
Function
Primevo
Product Page
Order Code | GID Number | Description | Technology | 
XT100E | 7TCA091160R0499 | PrimEvo Bulkhead | Standard | Self contained
RS100E | 7TCA091720R0091 | PrimEvo Recessed downlite | Standard | Self contained
SM100E | 7TCA091720R0092 | PrimEvo Surface downlite | Standard | Self contained
TW220E | 7TCA091720R0157 | PrimEvo Twinspot | Standard | Self contained
XT100ST | 7TCA091160R0583 | Primevo ST Bulkhead c/w Exit Sign Legend | Self test | Self contained
SM100ST | 7TCA091720R0193 | Primevo ST Surface Downlighter | Self test | Self contained
RS100ST | 7TCA091720R0191 | Primevo ST Recessed Downlighter | Self test | Self contained
Click on any item to access product sheet

## Slide 54: PRIMEVO
Escape route
Home
Function
Primevo
Product Page
Order Code | GID Number | Description | Technology | 
XT100E | 7TCA091160R0499 | PrimEvo Bulkhead | Standard | Self contained
RS100E | 7TCA091720R0091 | PrimEvo Recessed downlite | Standard | Self contained
SM100E | 7TCA091720R0092 | PrimEvo Surface downlite | Standard | Self contained
TW220E | 7TCA091720R0157 | PrimEvo Twinspot | Standard | Self contained
XT100ST | 7TCA091160R0583 | Primevo ST Bulkhead c/w Exit Sign Legend | Self test | Self contained
SM100ST | 7TCA091720R0193 | Primevo ST Surface Downlighter | Self test | Self contained
RS100ST | 7TCA091720R0191 | Primevo ST Recessed Downlighter | Self test | Self contained
Click on any item to access product sheet

## Slide 55: MIREVO TWINSPOT
Open area
Home
Function
MIREVO TWINSPOT
Product Page
Order Code | GID Number | Description | Technology | 
TW500E | 7TCA309010R0039 | MirEvo Twin SP MT 500Lm NM3Hr | Standard | Self contained
TW500ST | 7TCA305020R0022 | MirEvo Twin SP ST 500Lm NM3Hr | Self test | Self contained
TW500DA | 7TCA305020R0023 | MirEvo Twin SP DALI 500Lm NM3Hr | DALI | Self contained
TW500230V | 7TCA304050R0025 | MirEvo Twin SP CBS230 500Lm 3 Hr | EMEX | Slave
TW500230VLTC | 7TCA304060R0007 | MirEvo Twin SP CBS230 LTC 500Lm 3 Hr | EMEX | Slave
TW500BT | 7TCA305060R0009 | Mirevo Twinspot | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet

## Slide 56: MIREVO TWINSPOT
Escape route
Home
Function
MIREVO TWINSPOT
Product Page
Order Code | GID Number | Description | Technology | 
TW500E | 7TCA309010R0039 | MirEvo Twin SP MT 500Lm NM3Hr | Standard | Self contained
TW500ST | 7TCA305020R0022 | MirEvo Twin SP ST 500Lm NM3Hr | Self test | Self contained
TW500DA | 7TCA305020R0023 | MirEvo Twin SP DALI 500Lm NM3Hr | DALI | Self contained
TW500230V | 7TCA304050R0025 | MirEvo Twin SP CBS230 500Lm 3 Hr | EMEX | Slave
TW500230VLTC | 7TCA304060R0007 | MirEvo Twin SP CBS230 LTC 500Lm 3 Hr | EMEX | Slave
TW500BT | 7TCA305060R0009 | Mirevo Twinspot | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet

## Slide 57: AQUALUX
Exit sign
Home
Function
Aqualux
Product Page
Order Code | GID Number | Description | Technology | 
CTOW3L261 | 7TCA091150R0037 | CT 2LED M3 | Naveo | Self contained
IR2OW3L261 | 7TCA091170R0008 | 2LED M3 IR2 | IR2 | Self contained
OW1L261HF | 7TCA091130R0245 | 2XLED SIGN 230VHF | Standard | Slave
OW1L261LTC | 7TCA091140R0211 | 2XLED 230V LTC | Emex test | Slave
OW3L261 | 7TCA091160R0200 | 2LED M3 | Self test | Self contained
OW3L261LS | 7TCA091160R0201 | 2LEDM3 LSENS | Self test | Self contained
OW3L261V2 | 7TCA091160R0278 | 2LED M3 220V60HZ | Self test | Self contained
DLOW3LS60 | 7TCA091180R0346 | 3W LED DALI M3 | DALI | Self contained
7339055/50BT | 7TCA305020R0224 | XTE9100S-M3/BT | Naveo®Pro WIRELESS | Self contained
7339955/50BT | 7TCA305020R0225 | XTE9100S-M3/BT FR | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet

## Slide 58: AQUALUX
Open area
Home
Function
Aqualux
Product Page
Order Code | GID Number | Description | Technology | 
CTOW3L261 | 7TCA091150R0037 | CT 2LED M3 | Naveo | Self contained
IR2OW3L261 | 7TCA091170R0008 | 2LED M3 IR2 | R2 | Self contained
OW1L261HF | 7TCA091130R0245 | 2XLED SIGN 230VHF | Standard | Slave
OW1L261LTC | 7TCA091140R0211 | 2XLED 230V LTC | Emex test | Slave
OW3L261 | 7TCA091160R0200 | 2LED M3 | Self test | Self contained
OW3L261LS | 7TCA091160R0201 | 2LEDM3 LSENS | Self test | Self contained
OW3L261V2 | 7TCA091160R0278 | 2LED M3 220V60HZ | Self test | Self contained
DLOW3LS60 | 7TCA091180R0346 | 3W LED DALI M3 | DALI | Self contained
Aqualux Freez-Lite |  |  |  | 
CTSTF3L261 | 7TCA091150R0038 | CT 2LED M3 | Naveo | Self contained
STF3L261 | 7TCA091070R0099 | 2LED M3 | Self test | Self contained
DLSTF3LS60 | 7TCA091180R0375 | 3W LED DALI M3 | DALI | Self contained
Click on any item to access product sheet

## Slide 59: AQUALUX
Escape route
Home
Function
Aqualux
Product Page
Order Code | GID Number | Description | Technology | 
CTOW3L261 | 7TCA091150R0037 | CT 2LED M3 | Naveo | Self contained
IR2OW3L261 | 7TCA091170R0008 | 2LED M3 IR2 | R2 | Self contained
OW1L261HF | 7TCA091130R0245 | 2XLED SIGN 230VHF | Standard | Slave
OW1L261LTC | 7TCA091140R0211 | 2XLED 230V LTC | Emex test | Slave
OW3L261 | 7TCA091160R0200 | 2LED M3 | Self test | Self contained
OW3L261LS | 7TCA091160R0201 | 2LEDM3 LSENS | Self test | Self contained
OW3L261V2 | 7TCA091160R0278 | 2LED M3 220V60HZ | Self test | Self contained
DLOW3LS60 | 7TCA091180R0346 | 3W LED DALI M3 | DALI | Self contained
7339055/50BT | 7TCA305020R0224 | XTE9100S-M3/BT | Naveo®Pro WIRELESS | Self contained
7339955/50BT | 7TCA305020R0225 | XTE9100S-M3/BT FR | Naveo®Pro WIRELESS | Self contained
Aqualux Freez-Lite |  |  |  | 
CTSTF3L261 | 7TCA091150R0038 | CT 2LED M3 | Naveo | Self contained
STF3L261 | 7TCA091070R0099 | 2LED M3 | Self test | Self contained
DLSTF3LS60 | 7TCA091180R0375 | 3W LED DALI M3 | DALI | Self contained
Click on any item to access product sheet

## Slide 60: INDULUX
Exit sign
Home
Function
Indulux
Product Page
Order Code | GID Number | Description | Technology | 
CTIND3LS5 | 7TCA091720R0181 | Indulux LED S/S M3 CT | Naveo®Pro WIRED | Self contained
CTIND3LS5DS | 7TCA091720R0182 | Indulux LED D/S M3 CT | Naveo®Pro WIRED | Self contained
11120406/50BT | 7TCA305020R0323 | XTE9200S-M3/BT | Naveo®Pro WIRELESS | Self contained
11120407/50BT | 7TCA305020R0331 | XT9200S-M3/BT | Naveo®Pro WIRELESS | Self contained
IND3LS5 | 7TCA091720R0178 | Indulux LED S/S M3 ST | Self test | Self contained
IND3LS5DS | 7TCA091720R0179 | Indulux LED D/S M3 ST | Self test | Self contained
IND1LS5 | 7TCA091720R0175 | Indulux LED S/S 230V Slave | Standard | Slave
IND1LS5DS | 7TCA091720R0176 | Indulux LED D/S 230V Slave | Standard | Slave
IND1LS5DSLTC | 7TCA091720R0177 | Indulux LED D/S 230V LTC | Emex test | Slave
IND1LSLTC | 7TCA091720R0180 | Indulux LED S/S 230V LTC | Emex test | Slave
Click on any item to access product sheet

## Slide 61: INDULUX
Escape route
Home
Function
Indulux
Product Page
Click on any item to access product sheet
Order Code | GID Number | Description | Technology | 
CTIND3LS5 | 7TCA091720R0181 | Indulux LED S/S M3 CT | Naveo®Pro WIRED | Self contained
CTIND3LS5DS | 7TCA091720R0182 | Indulux LED D/S M3 CT | Naveo®Pro WIRED | Self contained
11120406/50BT | 7TCA305020R0323 | XTE9200S-M3/BT | Naveo®Pro WIRELESS | Self contained
11120407/50BT | 7TCA305020R0331 | XT9200S-M3/BT | Naveo®Pro WIRELESS | Self contained
IND3LS5 | 7TCA091720R0178 | Indulux LED S/S M3 ST | Self test | Self contained
IND3LS5DS | 7TCA091720R0179 | Indulux LED D/S M3 ST | Self test | Self contained
IND1LS5 | 7TCA091720R0175 | Indulux LED S/S 230V Slave | Standard | Slave
IND1LS5DS | 7TCA091720R0176 | Indulux LED D/S 230V Slave | Standard | Slave
IND1LS5DSLTC | 7TCA091720R0177 | Indulux LED D/S 230V LTC | Emex test | Slave
IND1LSLTC | 7TCA091720R0180 | Indulux LED S/S 230V LTC | Emex test | Slave

## Slide 62: INDULUX
Open area
Home
Function
Indulux
Product Page
Click on any item to access product sheet
Order Code | GID Number | Description | Technology | 
CTIND3LS5 | 7TCA091720R0181 | Indulux LED S/S M3 CT | Naveo®Pro WIRED | Self contained
CTIND3LS5DS | 7TCA091720R0182 | Indulux LED D/S M3 CT | Naveo®Pro WIRED | Self contained
11120406/50BT | 7TCA305020R0323 | XTE9200S-M3/BT | Naveo®Pro WIRELESS | Self contained
11120407/50BT | 7TCA305020R0331 | XT9200S-M3/BT | Naveo®Pro WIRELESS | Self contained
IND3LS5 | 7TCA091720R0178 | Indulux LED S/S M3 ST | Self test | Self contained
IND3LS5DS | 7TCA091720R0179 | Indulux LED D/S M3 ST | Self test | Self contained
IND1LS5 | 7TCA091720R0175 | Indulux LED S/S 230V Slave | Standard | Slave
IND1LS5DS | 7TCA091720R0176 | Indulux LED D/S 230V Slave | Standard | Slave
IND1LS5DSLTC | 7TCA091720R0177 | Indulux LED D/S 230V LTC | Emex test | Slave
IND1LSLTC | 7TCA091720R0180 | Indulux LED S/S 230V LTC | Emex test | Slave

## Slide 63: DAY-LITE EX-CEL
Exit sign
Home
Function
Day-Lite Ex-Cel
Product Page
Order Code | GID Number | Description | Technology | 
CTXXW3LS1 | 7TCA091180R0355 | LED 2W M3 DAYLITE WHT/OPL CT | Naveo | Self contained
CTXXW3LS11 | 7TCA091180R0356 | LED 2W M3 DAYLITE WHT/CLR CT | Naveo | Self contained
IR2XXW3LS1 | 7TCA091170R0039 | SLIM IP65 LED 2W M3 WH/OPL IR2 | IR2 | Self contained
IR2XXW3LS11 | 7TCA091170R0040 | SLIM IP65 LED 2W M3 WH/CLR IR2 | IR2 | Self contained
LTCXXW1LS1 | 7TCA091140R0544 | LED 2W LTC DAYLITE WHT/OPL | Emex test | Slave
LTCXXW1LS11 | 7TCA091140R0545 | LED 2W LTC DAYLITE WHT/CLR | Emex test | Slave
STXXW3LS1 | 7TCA091160R0574 | LED 2W M3 DAYLITE WHT/OPL SLFTST | Self test | Self contained
STXXW3LS11 | 7TCA091160R0575 | LED 2W M3 DAYLITE WHT/CLR SLFTST | Self test | Self contained
XW8LS1 | 7TCA091130R0555 | LED 1W 50V ACDC DAYLITE WHT/OPL | Standard | Slave
XW8LS11 | 7TCA091130R0279 | LED 1W 50V ACDC DAYLITE WHT/CLR | Standard | Slave
XXW1LS1 | 7TCA091130R0556 | LED 2W HF DAYLITE WHT/OPL | Self test | Self contained
XXW1LS11 | 7TCA091130R0557 | LED 2W HF DAYLITE WHT/CLR | Self test | Self contained
Click on any item to access product sheet

## Slide 64: DAY-LITE EX-CEL
Open area
Home
Function
Day-Lite Ex-Cel
Product Page
Order Code | GID Number | Description | Technology | 
CTXXW3LS1 | 7TCA091180R0355 | LED 2W M3 DAYLITE WHT/OPL CT | Naveo | Self contained
CTXXW3LS11 | 7TCA091180R0356 | LED 2W M3 DAYLITE WHT/CLR CT | Naveo | Self contained
IR2XXW3LS1 | 7TCA091170R0039 | SLIM IP65 LED 2W M3 WH/OPL IR2 | IR2 | Self contained
IR2XXW3LS11 | 7TCA091170R0040 | SLIM IP65 LED 2W M3 WH/CLR IR2 | IR2 | Self contained
LTCXXW1LS1 | 7TCA091140R0544 | LED 2W LTC DAYLITE WHT/OPL | Emex test | Slave
LTCXXW1LS11 | 7TCA091140R0545 | LED 2W LTC DAYLITE WHT/CLR | Emex test | Slave
STXXW3LS1 | 7TCA091160R0574 | LED 2W M3 DAYLITE WHT/OPL SLFTST | Self test | Self contained
STXXW3LS11 | 7TCA091160R0575 | LED 2W M3 DAYLITE WHT/CLR SLFTST | Self test | Self contained
XW8LS1 | 7TCA091130R0555 | LED 1W 50V ACDC DAYLITE WHT/OPL | Standard | Slave
XW8LS11 | 7TCA091130R0279 | LED 1W 50V ACDC DAYLITE WHT/CLR | Standard | Slave
XXW1LS1 | 7TCA091130R0556 | LED 2W HF DAYLITE WHT/OPL | Self test | Self contained
XXW1LS11 | 7TCA091130R0557 | LED 2W HF DAYLITE WHT/CLR | Self test | Self contained
CTXXW3LS11BT | 7TCA305020R0207 | XTE520S-M3/BT PR | Naveo®Pro WIRELESS | Self contained
CTXXW3LS1BT | 7TCA305020R0208 | XTE520S-M3/BT OP | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet

## Slide 65: DAY-LITE EX-CEL
Escape route
Home
Function
Day-Lite Ex-Cel
Product Page
Order Code | GID Number | Description | Technology | 
CTXXW3LS1 | 7TCA091180R0355 | LED 2W M3 DAYLITE WHT/OPL CT | Naveo | Self contained
CTXXW3LS11 | 7TCA091180R0356 | LED 2W M3 DAYLITE WHT/CLR CT | Naveo | Self contained
IR2XXW3LS1 | 7TCA091170R0039 | SLIM IP65 LED 2W M3 WH/OPL IR2 | IR2 | Self contained
IR2XXW3LS11 | 7TCA091170R0040 | SLIM IP65 LED 2W M3 WH/CLR IR2 | IR2 | Self contained
LTCXXW1LS1 | 7TCA091140R0544 | LED 2W LTC DAYLITE WHT/OPL | Emex test | Slave
LTCXXW1LS11 | 7TCA091140R0545 | LED 2W LTC DAYLITE WHT/CLR | Emex test | Slave
STXXW3LS1 | 7TCA091160R0574 | LED 2W M3 DAYLITE WHT/OPL SLFTST | Self test | Self contained
STXXW3LS11 | 7TCA091160R0575 | LED 2W M3 DAYLITE WHT/CLR SLFTST | Self test | Self contained
XW8LS1 | 7TCA091130R0555 | LED 1W 50V ACDC DAYLITE WHT/OPL | Standard | Slave
XW8LS11 | 7TCA091130R0279 | LED 1W 50V ACDC DAYLITE WHT/CLR | Standard | Slave
XXW1LS1 | 7TCA091130R0556 | LED 2W HF DAYLITE WHT/OPL | Self test | Self contained
XXW1LS11 | 7TCA091130R0557 | LED 2W HF DAYLITE WHT/CLR | Self test | Self contained
CTXXW3LS11BT | 7TCA305020R0207 | XTE520S-M3/BT PR | Naveo®Pro WIRELESS | Self contained
CTXXW3LS1BT | 7TCA305020R0208 | XTE520S-M3/BT OP | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet

## Slide 66: OVANO
Exit sign
Home
Function
Ovano
Product Page
Order Code | GID Number | Description | Technology | 
XT230RS/DALI | 7TCA091720R0155 | XT230RS | DALI | Self contained
XT224SM/DALI | 7TCA091720R0156 | XT224SM | DALI | Self contained
XT230H/DALI | 7TCA091720R0154 | Ovano XT230H | DALI | Self contained
Click on any item to access product sheet

## Slide 67: OVANO
Open area
Home
Function
Ovano
Product Page
Order Code | GID Number | Description | Technology | 
XT200M3H/DALI | 7TCA091720R0153 | XT200M3H | DALI | Self contained
XT201M3H/DALI | 7TCA091720R0152 | XT201M3H | DALI | Self contained
Click on any item to access product sheet

## Slide 68: OVANO
Escape route
Home
Function
Ovano
Product Page
Order Code | GID Number | Description | Technology | 
XT200M3H/DALI | 7TCA091720R0153 | XT200M3H | DALI | Self contained
XT201M3H/DALI | 7TCA091720R0152 | XT201M3H | DALI | Self contained
Click on any item to access product sheet

## Slide 69: NAVIGATOR COMPACT
Exit sign
Home
Function
Navigator Compact
Product Page
Order Code | GID Number | Description | Technology | 
CTVVE3LS1X | 7TCA091180R0351 | LED 2W M3 NAVI COMPACT WHT CT | Naveo | Self contained
IR2VVE3LS1X | 7TCA091170R0035 | LED 2W M3 NAVI COMPACT WHT IR2 | IR2 | Self contained
LTCVVE1LS1X | 7TCA091140R0540 | LED 2W LTC NAVI COMPACT WHT | Emex test | Slave
STVVE3LS1X | 7TCA091160R0570 | LED 2W M3 NAVI COMPACT WHT SLFTST | Self test | Self contained
VVE1LS1X | 7TCA091130R0547 | LED 2W HF NAVI COMPACT WHT | Standard | Slave
VVE8LS1X | 7TCA091130R0548 | LED 1W 24-50V ACDC NAVI COMPACT WHT | Standard | Slave
Click on any item to access product sheet

## Slide 70: WEATHERFORCE
Exit sign
Home
Function
Weatherforce
Product Page
Order Code | GID Number | Description | Technology | 
CTWWA3LS1X | 7TCA091180R0354 | LED 2W M3 W/FORCE WHT/NO DIFF CT | Naveo | Self contained
IR2WWA3LS1X | 7TCA091170R0038 | LED 2W M3 W/FORCE WHT/NO DIFF IR2 | IR2 | Self contained
LTCWWA1LS1X | 7TCA091140R0543 | LED 2W LTC W/FORCE WHT/NO DIFF LTC | Emex test | Slave
STWWA3LS1X | 7TCA091160R0573 | LED 2W M3 W/FORCE WHT/NO DIFF SLFTST | Self test | Self contained
WWA1LS1X | 7TCA091130R0551 | LED 2W HF W/FORCE WHT/NO DIFF | Standard | Slave
WWA8LS1X | 7TCA091130R0554 | LED 1W 24-50VACDC W/FORCE WHT/NO DIFF | Standard | Slave
DAWWA3LS1 | 7TCA305025R0035 | XTE9000S-M3/DALI OP | DALI | Self Contained
DAWWA3LS11 | 7TCA305025R0038 | XTE9000S-M3/DALI PR | DALI | Self Contained
Click on any item to access product sheet

## Slide 71: WEATHERFORCE
Open area
Home
Function
Weatherforce
Product Page
Order Code | GID Number | Description | Technology | 
CTWWA3LS1 | 7TCA091180R0352 | LED 2W M3 W/FORCE WHT/OPL CT | Naveo | Self contained
CTWWA3LS11 | 7TCA091180R0353 | LED 2W M3 W/FORCE WHT/PRIS CT | Naveo | Self contained
IR2WWA3LS1 | 7TCA091170R0036 | LED 2W M3 W/FORCE WHT/OPL IR2 | IR2 | Self contained
IR2WWA3LS11 | 7TCA091170R0037 | LED 2W M3 W/FORCE WHT/PRIS IR2 | IR2 | Self contained
LTCWWA1LS1 | 7TCA091140R0541 | LED 2W LTC W/FORCE WHT/OPL LTC | Emex test | Slave
LTCWWA1LS11 | 7TCA091140R0542 | LED 2W LTC W/FORCE WHT/PRIS LTC | Emex test | Slave
STWWA3LS1 | 7TCA091160R0571 | LED 2W M3 W/FORCE WHT/OPL SLFTST | Self test | Self contained
STWWA3LS11 | 7TCA091160R0572 | LED 2W M3 W/FORCE WHT/PRIS SLFTST | Self test | Self contained
WWA1LS1 | 7TCA091130R0549 | LED 2W HF W/FORCE WHT/OPL | Standard | Slave
WWA1LS11 | 7TCA091130R0550 | LED 2W HF W/FORCE WHT/PRIS | Standard | Slave
WWA8LS1 | 7TCA091130R0552 | LED 1W 24-50VACDC W/FORCE WHT/OPL | Standard | Slave
WWA8LS11 | 7TCA091130R0553 | LED 1W 24-50VACDC W/FORCE WHT/PRIS | Standard | Slave
DAWWA3LS1 | 7TCA305025R0035 | XTE9000S-M3/DALI OP | DALI | Self Contained
DAWWA3LS11 | 7TCA305025R0038 | XTE9000S-M3/DALI PR | DALI | Self Contained
Click on any item to access product sheet

## Slide 72: WEATHERFORCE
Escape route
Home
Function
Weatherforce
Product Page
Order Code | GID Number | Description | Technology | 
CTWWA3LS1 | 7TCA091180R0352 | LED 2W M3 W/FORCE WHT/OPL CT | Naveo | Self contained
CTWWA3LS11 | 7TCA091180R0353 | LED 2W M3 W/FORCE WHT/PRIS CT | Naveo | Self contained
IR2WWA3LS1 | 7TCA091170R0036 | LED 2W M3 W/FORCE WHT/OPL IR2 | IR2 | Self contained
IR2WWA3LS11 | 7TCA091170R0037 | LED 2W M3 W/FORCE WHT/PRIS IR2 | IR2 | Self contained
LTCWWA1LS1 | 7TCA091140R0541 | LED 2W LTC W/FORCE WHT/OPL LTC | Emex test | Slave
LTCWWA1LS11 | 7TCA091140R0542 | LED 2W LTC W/FORCE WHT/PRIS LTC | Emex test | Slave
STWWA3LS1 | 7TCA091160R0571 | LED 2W M3 W/FORCE WHT/OPL SLFTST | Self test | Self contained
STWWA3LS11 | 7TCA091160R0572 | LED 2W M3 W/FORCE WHT/PRIS SLFTST | Self test | Self contained
WWA1LS1 | 7TCA091130R0549 | LED 2W HF W/FORCE WHT/OPL | Standard | Slave
WWA1LS11 | 7TCA091130R0550 | LED 2W HF W/FORCE WHT/PRIS | Standard | Slave
WWA8LS1 | 7TCA091130R0552 | LED 1W 24-50VACDC W/FORCE WHT/OPL | Standard | Slave
WWA8LS11 | 7TCA091130R0553 | LED 1W 24-50VACDC W/FORCE WHT/PRIS | Standard | Slave
DAWWA3LS1 | 7TCA305025R0035 | XTE9000S-M3/DALI OP | DALI | Self Contained
DAWWA3LS11 | 7TCA305025R0038 | XTE9000S-M3/DALI PR | DALI | Self Contained
Click on any item to access product sheet

## Slide 73: SERENGA 2
Open Area
Home
Function
Serenga 2
Product Page
Order Code | GID Number | Description | Technology | 
Recessed – Round shape |  |  |  | 
CTSR2-DEA-M3 | 7TCA091180R0236 | REC M3 CT-NAVEO ESC-L4M WH | Naveo®Pro WIRED | Self contained
5520237161/50BT | 7TCA305020R0213 | EL2200R-M3/BT ER | Naveo®Pro WIRELESS | Self contained
5520237164/50BT | 7TCA305020R0214 | EL2200R-M3/BT OA | Naveo®Pro WIRELESS | Self contained
SR2-DEA-230 | 7TCA091130R0463 | REC 230V ESC-L4M WH | Standard | Slave
SR2-DEA-230LT | 7TCA091180R0240 | REC 230V EMEX ESC-L4M WH | Emex test | Slave
SR2-DEA-M3 | 7TCA091160R0445 | REC M3 AUTOTST ESC-4MH WH | Self test | Self contained
Click on any item to access product sheet

## Slide 74: SERENGA 2
Open Area
Home
Function
Serenga 2
Product Page
Order Code | GID Number | Description | Technology | 
Recessed – Square shape |  |  |  | 
CTSR2Q-DEA-M3 | 7TCA091180R0237 | REC-SQ M3 CT-NAVEO ESC-L4M WH | Naveo®Pro WIRED | Self contained
5520237171/50BT | 7TCA305020R0215 | EL2200RQ-M3/BT ER | Naveo®Pro WIRELESS | Self contained
5520237174/50BT | 7TCA305020R0216 | EL2200RQ-M3/BT OA | Naveo®Pro WIRELESS | Self contained
SR2Q-DEA-230 | 7TCA091130R0464 | REC-SQ 230V ESC L4M WH | Standard | Slave
SR2Q-DEA-230LT | 7TCA091180R0241 | REC-SQ 230V EMEX ESC-L4M WH | Emex test | Slave
SR2Q-DEA-M3 | 7TCA091160R0443 | REC-SQ M3 AUTOTST ESC-L4M WH | Self test | Self contained
DASR2-DEA-M3 | 7TCA091180R0343 | REC M3 DALI ESC-4MH WH | DALI | Self contained
Click on any item to access product sheet

## Slide 75: SERENGA 2
Open Area
Home
Function
Serenga 2
Product Page
Order Code | GID Number | Description | Technology | 
Surface mount |  |  |  | 
CTSR2-SEM3-A1 | 7TCA091180R0234 | SFC M3 CT-NAVEO ESC-L4M WH | Naveo®Pro WIRED | Self contained
5520237151/50BT | 7TCA305020R0242 | EL2200S-M3/BT ER | Naveo®Pro WIRELESS | Self contained
5520237158/50BT | 7TCA305020R0243 | EL2200S-M3/BT HE | Naveo®Pro WIRELESS | Self contained
5520237159/50BT | 7TCA305020R0244 | EL2200S-M3/BT HO | Naveo®Pro WIRELESS | Self contained
5520237154/50BT | 7TCA305020R0245 | EL2200S-M3/BT OA | Naveo®Pro WIRELESS | Self contained
5523237157/50BT | 7TCA305020R0246 | EL2200W-M3/BT S | Naveo®Pro WIRELESS | Self contained
SR2-SE230-A1 | 7TCA091130R0465 | SFC 230V ESC-L4M WH | Standard | Slave
SR2-SE230LT-A1 | 7TCA091180R0238 | SFC 230V EMEX ESC-L4M WH | Emex test | Slave
SR2-SEM3-A1 | 7TCA091160R0431 | SFC M3 AUTOTST ESC-L4M WH | Self test | Self contained
DASR2-SEM3-A1 | 7TCA091180R0345 | SFC M3 DALI ESC-L4M WH | DALI | Self contained
Click on any item to access product sheet

## Slide 76: SERENGA 2
Escape route
Home
Function
Serenga 2
Product Page
Click on any item to access product sheet
Order Code | GID Number | Description | Technology | 
Recessed – Round shape |  |  |  | 
CTSR2-DEA-M3 | 7TCA091180R0236 | REC M3 CT-NAVEO ESC-L4M WH | Naveo®Pro WIRED | Self contained
5520237161/50BT | 7TCA305020R0213 | EL2200R-M3/BT ER | Naveo®Pro WIRELESS | Self contained
5520237164/50BT | 7TCA305020R0214 | EL2200R-M3/BT OA | Naveo®Pro WIRELESS | Self contained
SR2-DEA-230 | 7TCA091130R0463 | REC 230V ESC-L4M WH | Standard | Slave
SR2-DEA-230LT | 7TCA091180R0240 | REC 230V EMEX ESC-L4M WH | Emex test | Slave
SR2-DEA-M3 | 7TCA091160R0445 | REC M3 AUTOTST ESC-4MH WH | Self test | Self contained

## Slide 77: SERENGA 2
Escape route
Home
Function
Serenga 2
Product Page
Click on any item to access product sheet
Order Code | GID Number | Description | Technology | 
Recessed – Square shape |  |  |  | 
CTSR2Q-DEA-M3 | 7TCA091180R0237 | REC-SQ M3 CT-NAVEO ESC-L4M WH | Naveo®Pro WIRED | Self contained
5520237171/50BT | 7TCA305020R0215 | EL2200RQ-M3/BT ER | Naveo®Pro WIRELESS | Self contained
5520237174/50BT | 7TCA305020R0216 | EL2200RQ-M3/BT OA | Naveo®Pro WIRELESS | Self contained
SR2Q-DEA-230 | 7TCA091130R0464 | REC-SQ 230V ESC L4M WH | Standard | Slave
SR2Q-DEA-230LT | 7TCA091180R0241 | REC-SQ 230V EMEX ESC-L4M WH | Emex test | Slave
SR2Q-DEA-M3 | 7TCA091160R0443 | REC-SQ M3 AUTOTST ESC-L4M WH | Self test | Self contained
DASR2-DEA-M3 | 7TCA091180R0343 | REC M3 DALI ESC-4MH WH | DALI | Self contained

## Slide 78: SERENGA 2
Escape route
Home
Function
Serenga 2
Product Page
Order Code | GID Number | Description | Technology | 
Surface mount |  |  |  | 
CTSR2-SEM3-A1 | 7TCA091180R0234 | SFC M3 CT-NAVEO ESC-L4M WH | Naveo®Pro WIRED | Self contained
5520237151/50BT | 7TCA305020R0242 | EL2200S-M3/BT ER | Naveo®Pro WIRELESS | Self contained
5520237158/50BT | 7TCA305020R0243 | EL2200S-M3/BT HE | Naveo®Pro WIRELESS | Self contained
5520237159/50BT | 7TCA305020R0244 | EL2200S-M3/BT HO | Naveo®Pro WIRELESS | Self contained
5520237154/50BT | 7TCA305020R0245 | EL2200S-M3/BT OA | Naveo®Pro WIRELESS | Self contained
5523237157/50BT | 7TCA305020R0246 | EL2200W-M3/BT S | Naveo®Pro WIRELESS | Self contained
SR2-SE230-A1 | 7TCA091130R0465 | SFC 230V ESC-L4M WH | Standard | Slave
SR2-SE230LT-A1 | 7TCA091180R0238 | SFC 230V EMEX ESC-L4M WH | Emex test | Slave
SR2-SEM3-A1 | 7TCA091160R0431 | SFC M3 AUTOTST ESC-L4M WH | Self test | Self contained
DASR2-SEM3-A1 | 7TCA091180R0345 | SFC M3 DALI ESC-L4M WH | DALI | Self contained
Click on any item to access product sheet

## Slide 79: CAMARQUE
General lighting
Home
Function
Camarque
Product Page
Order Code | GID Number | Description | Technology | 
CLQ1LA1 | 7TCA091130R0542 | CLQ LED 2D WH/OPAL HF | Standard | Slave
CTCLQ4LA1 | 7TCA091180R0347 | CLQ LED 2D WH/OPAL CT | Naveo | Self contained
IR2CLQ4LA1 | 7TCA091170R0031 | CLQ LED 2D WH/OPAL IR2 | IR2 | Self contained
LTCCLQ1LA1 | 7TCA091140R0536 | CLQ LED 2D WH/OPAL LTC | Emex test | Slave
STCLQ4LA1 | 7TCA091160R0566 | CLQ LED 2D WH/OPAL SLFTST | Self test | Self contained
Click on any item to access product sheet

## Slide 80: CAMARQUE
Open area
Home
Function
Camarque
Product Page
Order Code | GID Number | Description | Technology | 
CLQ1LA1 | 7TCA091130R0542 | CLQ LED 2D WH/OPAL HF | Standard | Slave
CTCLQ4LA1 | 7TCA091180R0347 | CLQ LED 2D WH/OPAL CT | Naveo | Self contained
IR2CLQ4LA1 | 7TCA091170R0031 | CLQ LED 2D WH/OPAL IR2 | IR2 | Self contained
LTCCLQ1LA1 | 7TCA091140R0536 | CLQ LED 2D WH/OPAL LTC | Emex test | Slave
STCLQ4LA1 | 7TCA091160R0566 | CLQ LED 2D WH/OPAL SLFTST | Self test | Self contained
Click on any item to access product sheet

## Slide 81: CAMARQUE
Escape route
Home
Function
Camarque
Product Page
Order Code | GID Number | Description | Technology | 
CLQ1LA1 | 7TCA091130R0542 | CLQ LED 2D WH/OPAL HF | Standard | Slave
CTCLQ4LA1 | 7TCA091180R0347 | CLQ LED 2D WH/OPAL CT | Naveo | Self contained
IR2CLQ4LA1 | 7TCA091170R0031 | CLQ LED 2D WH/OPAL IR2 | IR2 | Self contained
LTCCLQ1LA1 | 7TCA091140R0536 | CLQ LED 2D WH/OPAL LTC | Emex test | Slave
STCLQ4LA1 | 7TCA091160R0566 | CLQ LED 2D WH/OPAL SLFTST | Self test | Self contained
Click on any item to access product sheet

## Slide 82: CORDONA
General lighting
Home
Function
Cordona
Product Page
Order Code | GID Number | Description | Technology | 
CPW1LA1 | 7TCA091130R0543 | LED 2D WH/OPL-OPT HF | Standard | Slave
CPW1LA11 | 7TCA091130R0544 | LED 2D WH/CLR-OPT HF | Standard | Slave
CTCPW4LA1 | 7TCA091180R0348 | LED 2D M3 WH/OPL-OPT CT | Naveo | Self contained
CTCPW4LA11 | 7TCA091180R0349 | LED 2D M3 WH/CLR-OPT CT | Naveo | Self contained
IR2CPW4LA1 | 7TCA091170R0032 | LED 2D M3 WH/OPL-OPT IR2 | IR2 | Self contained
IR2CPW4LA11 | 7TCA091170R0033 | LED 2D M3 WH/CLR-OPT IR2 | IR2 | Self contained
LTCCPW1LA1 | 7TCA091140R0537 | LED 2D WH/OPL-OPT LTC | Emex test | Slave
LTCCPW1LA11 | 7TCA091140R0538 | LED 2D WH/CLR-OPT LTC | Emex test | Slave
STCPW4LA1 | 7TCA091160R0567 | LED 2D M3 WH/OPL-OPT SLFTST | Self test | Self contained
STCPW4LA11 | 7TCA091160R0568 | LED 2D M3 WH/CLR-OPT SLFTST | Self test | Self contained
CTCPW4LA11BT | 7TCA305020R0202 | EL530S-M3/BT PR | Naveo®Pro WIRELESS | Self contained
CTCPW4LA1BT | 7TCA305020R0203 | EL530S-M3/BT OP | Naveo®Pro WIRELESS | Self contained
DACPW4LA1 | 7TCA305025R0029 | EL530S-M3/DALI OP | DALI | Self Contained
DACPW4LA11 | 7TCA305025R0032 | EL530S-M3/DALI PR | DALI | Self Contained
Click on any item to access product sheet

## Slide 83: CORDONA
Open area
Home
Function
Cordona
Product Page
Click on any item to access product sheet
Order Code | GID Number | Description | Technology | 
CPW1LA1 | 7TCA091130R0543 | LED 2D WH/OPL-OPT HF | Standard | Slave
CPW1LA11 | 7TCA091130R0544 | LED 2D WH/CLR-OPT HF | Standard | Slave
CTCPW4LA1 | 7TCA091180R0348 | LED 2D M3 WH/OPL-OPT CT | Naveo | Self contained
CTCPW4LA11 | 7TCA091180R0349 | LED 2D M3 WH/CLR-OPT CT | Naveo | Self contained
IR2CPW4LA1 | 7TCA091170R0032 | LED 2D M3 WH/OPL-OPT IR2 | IR2 | Self contained
IR2CPW4LA11 | 7TCA091170R0033 | LED 2D M3 WH/CLR-OPT IR2 | IR2 | Self contained
LTCCPW1LA1 | 7TCA091140R0537 | LED 2D WH/OPL-OPT LTC | Emex test | Slave
LTCCPW1LA11 | 7TCA091140R0538 | LED 2D WH/CLR-OPT LTC | Emex test | Slave
STCPW4LA1 | 7TCA091160R0567 | LED 2D M3 WH/OPL-OPT SLFTST | Self test | Self contained
STCPW4LA11 | 7TCA091160R0568 | LED 2D M3 WH/CLR-OPT SLFTST | Self test | Self contained
CTCPW4LA11BT | 7TCA305020R0202 | EL530S-M3/BT PR | Naveo®Pro WIRELESS | Self contained
CTCPW4LA1BT | 7TCA305020R0203 | EL530S-M3/BT OP | Naveo®Pro WIRELESS | Self contained
DACPW4LA1 | 7TCA305025R0029 | EL530S-M3/DALI OP | DALI | Self Contained
DACPW4LA11 | 7TCA305025R0032 | EL530S-M3/DALI PR | DALI | Self Contained

## Slide 84: CORDONA
Escape route
Home
Function
Cordona
Product Page
Click on any item to access product sheet
Order Code | GID Number | Description | Technology | 
CPW1LA1 | 7TCA091130R0543 | LED 2D WH/OPL-OPT HF | Standard | Slave
CPW1LA11 | 7TCA091130R0544 | LED 2D WH/CLR-OPT HF | Standard | Slave
CTCPW4LA1 | 7TCA091180R0348 | LED 2D M3 WH/OPL-OPT CT | Naveo | Self contained
CTCPW4LA11 | 7TCA091180R0349 | LED 2D M3 WH/CLR-OPT CT | Naveo | Self contained
IR2CPW4LA1 | 7TCA091170R0032 | LED 2D M3 WH/OPL-OPT IR2 | IR2 | Self contained
IR2CPW4LA11 | 7TCA091170R0033 | LED 2D M3 WH/CLR-OPT IR2 | IR2 | Self contained
LTCCPW1LA1 | 7TCA091140R0537 | LED 2D WH/OPL-OPT LTC | Emex test | Slave
LTCCPW1LA11 | 7TCA091140R0538 | LED 2D WH/CLR-OPT LTC | Emex test | Slave
STCPW4LA1 | 7TCA091160R0567 | LED 2D M3 WH/OPL-OPT SLFTST | Self test | Self contained
STCPW4LA11 | 7TCA091160R0568 | LED 2D M3 WH/CLR-OPT SLFTST | Self test | Self contained
CTCPW4LA11BT | 7TCA305020R0202 | EL530S-M3/BT PR | Naveo®Pro WIRELESS | Self contained
CTCPW4LA1BT | 7TCA305020R0203 | EL530S-M3/BT OP | Naveo®Pro WIRELESS | Self contained
DACPW4LA1 | 7TCA305025R0029 | EL530S-M3/DALI OP | DALI | Self Contained
DACPW4LA11 | 7TCA305025R0032 | EL530S-M3/DALI PR | DALI | Self Contained

## Slide 85: HYLED
Open area
Home
Function
Hyled
Product Page
Click on any item to access product sheet
HY1LA2HF | 7TCA091720R0105 | HY-LED 230V50HZ HF OA PC IP65 | Standard | Slave
HY1LA2LTC | 7TCA091720R0120 | HY-LED 230V50HZ LTC OA PC IP65 | Emex test | Slave
HY1LE2HF | 7TCA091720R0104 | HY-LED 230V50HZ HF ESC PC IP65 | Standard | Slave
HY1LE2LTC | 7TCA091720R0119 | HY-LED 230V50HZ LTC ESC PC IP65 | Emex test | Slave
DAHY3LA2 | 7TCA305025R0047 | HY-LED DALI-M/NM3 OA GY PC IP65 | DALI | Self Contained
11370057/50 | 7TCA305025R0046 | EL9300S-M3/DALI OA | DALI | Self Contained
Order Code | GID Number | Description | Technology | 
CTHY3LA2 | 7TCA091720R0080 | HY-LED CT-M/NM3 OA GY PC IP65 | Naveo®Pro WIRED | Self contained
CTHY3LE2 | 7TCA091720R0081 | HY-LED CT-M/NM3 ESC GY PC IP65 | Naveo®Pro WIRED | Self contained
HY3LA2 | 7TCA091720R0065 | HY-LED M/NM3 OA GY PC IP65 | Self test | Self contained
HY3LE2 | 7TCA091720R0064 | HY-LED M/NM3 ESC GY PC IP65 | Self test | Self contained
CTHY3LA2BT | 7TCA305020R0347 | EL9300S-M3/BT OA | Naveo®Pro WIRELESS | Self contained
CTHY3LE2BT | 7TCA305020R0355 | EL9300S-M3/BT ER | Naveo®Pro WIRELESS | Self contained

## Slide 86: HYLED
Escape route
Home
Function
Hyled
Product Page
Click on any item to access product sheet
HY1LA2HF | 7TCA091720R0105 | HY-LED 230V50HZ HF OA PC IP65 | Standard | Slave
HY1LA2LTC | 7TCA091720R0120 | HY-LED 230V50HZ LTC OA PC IP65 | Emex test | Slave
HY1LE2HF | 7TCA091720R0104 | HY-LED 230V50HZ HF ESC PC IP65 | Standard | Slave
HY1LE2LTC | 7TCA091720R0119 | HY-LED 230V50HZ LTC ESC PC IP65 | Emex test | Slave
DAHY3LE2 | 7TCA305025R0048 | HY-LED DALI-M/NM3 ESC GY PC IP65 | DALI | Self Contained
11370047/50 | 7TCA305025R0045 | EL9300S-M3/DALI ER | DALI | Self Contained
Order Code | GID Number | Description | Technology | 
CTHY3LA2 | 7TCA091720R0080 | HY-LED CT-M/NM3 OA GY PC IP65 | Naveo®Pro WIRED | Self contained
CTHY3LE2 | 7TCA091720R0081 | HY-LED CT-M/NM3 ESC GY PC IP65 | Naveo®Pro WIRED | Self contained
HY3LA2 | 7TCA091720R0065 | HY-LED M/NM3 OA GY PC IP65 | Self test | Self contained
HY3LE2 | 7TCA091720R0064 | HY-LED M/NM3 ESC GY PC IP65 | Self test | Self contained
CTHY3LA2BT | 7TCA305020R0347 | EL9300S-M3/BT OA | Naveo®Pro WIRELESS | Self contained
CTHY3LE2BT | 7TCA305020R0355 | EL9300S-M3/BT ER | Naveo®Pro WIRELESS | Self contained

## Slide 87: LUTIA
General lighting
Home
Function
Lutia
Product Page
Order Code | GID Number | Description | Technology | 
STLU3LB1E | 7TCA091160R0597 | Lutia LED ESC M3 ST | Self test | Self contained
LU1LB1E | 7TCA091130R0582 | Lutia LED ESC 230V | Standard | Slave
LTCLU1LB1E | 7TCA091140R0556 | Lutia LED ESC 230V LTC | Emex test | Slave
DALU3LB1E | 7TCA305020R0062 | Lutia LED ESC M3 DALI | DALI | Self contained
CTLU3LB1E | 7TCA305020R0003 | Lutia LED ESC M3 CT - Naveo | Naveo®Pro WIRED | Self contained
65760230/50BT | 7TCA309010R0071 | EL9400S-M3/BT ER | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet

## Slide 88: LUTIA
Open area
Home
Function
Lutia
Product Page
Click on any item to access product sheet
Order Code | GID Number | Description | Technology | 
STLU3LB1E | 7TCA091160R0597 | Lutia LED ESC M3 ST | Self test | Self contained
LU1LB1E | 7TCA091130R0582 | Lutia LED ESC 230V | Standard | Slave
LTCLU1LB1E | 7TCA091140R0556 | Lutia LED ESC 230V LTC | Emex test | Slave
DALU3LB1E | 7TCA305020R0062 | Lutia LED ESC M3 DALI | DALI | Self contained
CTLU3LB1E | 7TCA305020R0003 | Lutia LED ESC M3 CT - Naveo | Naveo®Pro WIRED | Self contained
65760230/50BT | 7TCA309010R0071 | EL9400S-M3/BT ER | Naveo®Pro WIRELESS | Self contained

## Slide 89: LUTIA
Escape route
Home
Function
Lutia
Product Page
Click on any item to access product sheet
Order Code | GID Number | Description | Technology | 
STLU3LB1E | 7TCA091160R0597 | Lutia LED ESC M3 ST | Self test | Self contained
LU1LB1E | 7TCA091130R0582 | Lutia LED ESC 230V | Standard | Slave
LTCLU1LB1E | 7TCA091140R0556 | Lutia LED ESC 230V LTC | Emex test | Slave
DALU3LB1E | 7TCA305020R0062 | Lutia LED ESC M3 DALI | DALI | Self contained
CTLU3LB1E | 7TCA305020R0003 | Lutia LED ESC M3 CT - Naveo | Naveo®Pro WIRED | Self contained
65760230/50BT | 7TCA309010R0071 | EL9400S-M3/BT ER | Naveo®Pro WIRELESS | Self contained

## Slide 90: SILVER SCAPE
Self contained
Home
Function
Silver Scape
Product Page
Order Code | GID Number | Description | Technology | 
CTRRB3LS1X | 7TCA091180R0350 | RECSD B/HEAD 2W M3 LED WHT CT | Naveo | Self Contained
IR2RRB3LS1X | 7TCA091170R0034 | RECSD B/HEAD 2W M3 LED WHT IR2 | IR2 | Self Contained
STRRB3LS1X | 7TCA091160R0569 | RECSD B/HEAD 2W M3 LED WHT SLFTST | Self test | Self Contained
CTRRB3LS1X | 7TCA091180R0350 | RECSD B/HEAD 2W M3 LED WHT CT | Naveo®Pro WIRED | Self Contained
CTRRB3LS1XBT | 7TCA305020R0204 | XTE510R-M3/BT | Naveo®Pro WIRELESS | Self Contained
Click on any item to access product sheet

## Slide 91: SILVER SCAPE
Slave
Home
Function
Silver Scape
Product Page
Order Code | GID Number | Description | Technology | 
LTCRRB1LS1X | 7TCA091140R0539 | LED 2W LTC SILVERSCAPE RECESS | Emex test | Slave
RB8LS1X | 7TCA091130R0545 | LED 2W 50V ACDC SILVERSCAPE RECESS | Standard | Slave
RRB1LS1X | 7TCA091130R0546 | LED 2W HF SILVERSCAPE RECESS | Standard | Slave
Click on any item to access product sheet
Related Central
Battery Systems

## Slide 92: GUIDEWAY
Self Contained
Home
Function
Guideway
Product Page
Order Code | GID Number | Description | Technology | 
CTEGR3LS1-S22 | 7TCA091180R0254 | REC LED SIGN M3 CT-TST 22M | Naveo®Pro WIRED | Self Contained
EGR3LS1-S22 | 7TCA091160R0361 | REC LED SIGN M3 22M | Self test | Self Contained
DAEGR3LS1-S22 | 7TCA091180R0340 | REC LED SIGN M3 22M DALI | DALI | Self Contained
CTEGR3LS1-S32 | 7TCA091180R0255 | REC LED SIGN M3 CT-TST 32M | Naveo®Pro WIRED | Self Contained
EGR3LS1-S32 | 7TCA091160R0362 | REC LED SIGN M3 32M | Self test | Self Contained
DAEGR3LS1-S32 | 7TCA091180R0341 | REC LED SIGN M3 32M DALI | DALI | Self Contained
CTEG3LS1-S22 | 7TCA091180R0256 | LED SIGN M3 CT-TST 22M | Naveo®Pro WIRED | Self Contained
EG3LS1-S22 | 7TCA091160R0359 | LED SIGN M3 22M | Self test | Self Contained
DAEG3LS1-S22 | 7TCA091180R0338 | LED SIGN M3 22M DALI | DALI | Self Contained
CTEG3LS1-S32 | 7TCA091180R0257 | LED SIGN M3 CT-TST 32M | Naveo®Pro WIRED | Self Contained
EG3LS1-S32 | 7TCA091160R0360 | LED SIGN M3 32M | Self test | Self Contained
DAEG3LS1-S32 | 7TCA091180R0339 | LED SIGN M3 32M DALI | DALI | Self Contained
4510236162/50BT | 7TCA305020R0210 | XT3300R-M3/BT 22M ALU | Naveo®Pro WIRELESS | Self Contained
4510236163/50BT | 7TCA305020R0211 | XT3300R-M3/BT 32M ALU | Naveo®Pro WIRELESS | Self Contained
4510236152/50BT | 7TCA305020R0293 | XT3300S-M3/BT 22M ALU | Naveo®Pro WIRELESS | Self Contained
4513216153/50BT | 7TCA305020R0307 | XT3300S-M3/BT 32M ALU | Naveo®Pro WIRELESS | Self Contained
Click on any item to access product sheet

## Slide 93: GUIDEWAY
Slave
Home
Function
Guideway
Product Page
Order Code | GID Number | Description | Technology | 
EGR1LS1D-S22 | 7TCA091130R0406 | REC LED SIGN 230DIM 22M | Standard | Slave
EGR1LS1LTC-S22 | 7TCA091140R0530 | REC LED SIGN SLAVE LTC 230VAC 22M | Emex test | Slave
EGR1LS1-S22 | 7TCA091130R0408 | REC LED SIGN SLAVE 230VAC 22M | Standard | Slave
EGR1LS1D-S32 | 7TCA091130R0407 | REC LED SIGN SLAVE 230DIM 32M | Standard | Slave
EGR1LS1LTC-S32 | 7TCA091140R0531 | REC LED SIGN SLAVE LTC 230 VAC 32M | Emex test | Slave
EGR1LS1-S32 | 7TCA091130R0409 | REC LED SIGN SLAVE 230 VAC 32M | Standard | Slave
EG1LS1D-S22 | 7TCA091130R0402 | LED SIGN SLAVE 230VAC DIM 22M | Standard | Slave
EG1LS1LTC-S22 | 7TCA091140R0527 | LED SIGN SLAVE LTC 230VAC 22M | Emex Test | Slave
EG1LS1-S22 | 7TCA091130R0404 | LED SIGN SLAVE 230VAC 22M | Standard | Slave
EG1LS1D-S32 | 7TCA091130R0403 | LED SIGN SLAVE 230VAC DIM 32M | Standard | Slave
EG1LS1LTC-S32 | 7TCA091140R0524 | LED SIGN SLAVE LTC 230VAC 32M | Emex test | Slave
EG1LS1-S32 | 7TCA091130R0405 | LED SIGN SLAVE 230VAC 32M | Standard | Slave
Click on any item to access product sheet
Related Central
Battery Systems

## Slide 94: HORIZON
Self contained
Home
Function
Horizon
Product Page
Order Code | GID Number | Description | Technology | 
CTOH3L261 | 7TCA091180R0114 | CT 2LED SIGN M3 | Naveo | Self contained
IR2OH3L261 | 7TCA091170R0006 | 2LED M3 IR2 | IR2 | Self contained
OH3L261 | 7TCA091160R0198 | 2LED SIGN M3 | Self test | Self contained
CTOZ3L261 | 7TCA091180R0116 | CT 2LED REC-SIGN M3 | Naveo | Self contained
IR2OZ3L261 | 7TCA091170R0009 | REC 2LED M3 IR2 | IR2 | Self contained
OZ3L261 | 7TCA091070R0096 | 2LED REC-SIGN M3 | Self test | Self contained
OH3L261V2 | 7TCA091160R0300 | 2LEDS SIGN M3 220V60HZ | Self test | Self contained
OZ3L261V2 | 7TCA091160R0301 | 2LED REC-SIGN M3 60HZ | Self test | Self contained
OZD3LS61V2 | 7TCA091160R0302 | LEDS REC-EDGE SIGN M3 60HZ | Self test | Self contained
CTOHD3LS61 | 7TCA091180R0115 | CT LEDS EDGE SIGH M3 | Naveo | Self contained
CTOZD3LS61 | 7TCA091180R0117 | CT LED REC-EDGE SIGN M3 | Naveo | Self contained
IR2OHD3LS61 | 7TCA091170R0007 | D-S LEDS M3 IR2 | IR2 | Self contained
IR2OZD3LS61 | 7TCA091170R0010 | REC D-S LEDS M3 IR2 | IR2 | Self contained
OHD3LS61 | 7TCA091160R0199 | LEDS EDGE SIGN M3 | Self test | Self contained
OZD3LS61 | 7TCA091160R0202 | LEDS REC-EDGE SIGN M3 | Self test | Self contained
Click on any item to access product sheet

## Slide 95: HORIZON
Slave
Home
Function
Horizon
Product Page
Order Code | GID Number | Description | Technology | 
OH1L261HF | 7TCA091130R0243 | 2XLED SIGN 230VHF | Standard | Slave
OH1L261LTC | 7TCA091090R0036 | 2XLED SIGN 230VLTC | Emex test | Slave
OZ1L261HF | 7TCA091070R0095 | 2XLED REC-SIGN 230VHF | Standard | Slave
OZ1L261LTC | 7TCA091090R0040 | 2XLED REC-SIGN 230VLTC | Emex test | Slave
OHD1LS61HF | 7TCA091130R0244 | LEDS EDGE SIGN 230VHF | Standard | Slave
OHD1LS61LTC | 7TCA091090R0037 | LEDS EDGE SIGN 230VLTC | Emex test | Slave
OZD1LS61HF | 7TCA091070R0097 | LEDS REC-EDG SIGN 230HF | Standard | Slave
OZD1LS61LTC | 7TCA091090R0041 | LEDS REC-EDG SIGN 230LTC | Emex test | Slave
Click on any item to access product sheet
Related Central
Battery Systems

## Slide 96: SERENGA
Self contained
Home
Function
Serenga
Product Page
Order Code | GID Number | Description | Technology | 
Control assembly |  |  |  | 
SER-M3-003 | 7TCA091160R0222 | Control module & battery pack | Self test | Self contained
CTSER-M3-003 | 7TCA091180R0127 | Control module & battery pack, CT version | Naveo | Self contained
CTSER-M3V2-003 | 7TCA091180R0258 | Control module & battery pack, CT version | Naveo | Self contained
IR2SER-M3-003 | 7TCA091170R0020 | Control module & battery pack, IR2 version | IR2 | Self contained
SER-M3V2-003 | 7TCA091070R0098 | Control module & battery pack | Self test | Self contained
Click on any item to access product sheet

## Slide 97: SERENGA
Slave
Home
Function
Serenga
Product Page
Order Code | GID Number | Description | Technology | 
Control assembly |  |  |  | 
SER-230-003 | 7TCA091130R0248 | Control module mains | Standard | Slave
SER-230LTC-003 | 7TCA091140R0216 | Control module, LTC version | Emex test | Slave
Click on any item to access product sheet
Related Central
Battery Systems

## Slide 98: PRIMEVO
Self contained
Home
Function
Primevo
Product Page
Order Code | GID Number | Description | Technology | 
XT100E | 7TCA091160R0499 | PrimEvo Bulkhead | Standard | Self contained
XT200E | 7TCA091720R0090 | PrimEvo Exit Sign | Standard | Self contained
RS100E | 7TCA091720R0091 | PrimEvo Recessed downlite | Standard | Self contained
SM100E | 7TCA091720R0092 | PrimEvo Surface downlite | Standard | Self contained
TW220E | 7TCA091720R0157 | PrimEvo Twinspot | Standard | Self contained
XT200ST | 7TCA091720R0192 | Primevo ST Blade Exit Sign c/w Legend | Self test | Self contained
XT100ST | 7TCA091160R0583 | Primevo ST Bulkhead c/w Exit Sign Legend | Self test | Self contained
SM100ST | 7TCA091720R0193 | Primevo ST Surface Downlighter | Self test | Self contained
RS100ST | 7TCA091720R0191 | Primevo ST Recessed Downlighter | Self test | Self contained
Click on any item to access product sheet

## Slide 99: MIREVO TWINSPOT
Self contained
Home
Function
MIREVO TWINSPOT
Product Page
Order Code | GID Number | Description | Technology | 
TW500E | 7TCA309010R0039 | MirEvo Twin SP MT 500Lm NM3Hr | Standard | Self contained
TW500ST | 7TCA305020R0022 | MirEvo Twin SP ST 500Lm NM3Hr | Self test | Self contained
TW500DA | 7TCA305020R0023 | MirEvo Twin SP DALI 500Lm NM3Hr | DALI | Self contained
TW500BT | 7TCA305060R0009 | Mirevo Twinspot | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet

## Slide 100: MIREVO TWINSPOT
Slave
Home
Function
MIREVO TWINSPOT
Product Page
Order Code | GID Number | Description | Technology | 
TW500230V | 7TCA304050R0025 | MirEvo Twin SP CBS230 500Lm 3 Hr | EMEX | Slave
TW500230VLTC | 7TCA304060R0007 | MirEvo Twin SP CBS230 LTC 500Lm 3 Hr | EMEX | Slave
Click on any item to access product sheet

## Slide 101: AQUALUX
Self contained
Home
Function
Aqualux
Product Page
Order Code | GID Number | Description | Technology | 
CTOW3L261 | 7TCA091150R0037 | CT 2LED M3 | Naveo | Self contained
IR2OW3L261 | 7TCA091170R0008 | 2LED M3 IR2 | IR2 | Self contained
OW3L261 | 7TCA091160R0200 | 2LED M3 | Self test | Self contained
OW3L261LS | 7TCA091160R0201 | 2LEDM3 LSENS | Self test | Self contained
OW3L261V2 | 7TCA091160R0278 | 2LED M3 220V60HZ | Self test | Self contained
DLOW3LS60 | 7TCA091180R0346 | 3W LED DALI M3 | DALI | Self contained
7339055/50BT | 7TCA305020R0224 | XTE9100S-M3/BT | Naveo®Pro WIRELESS | Self contained
7339955/50BT | 7TCA305020R0225 | XTE9100S-M3/BT FR | Naveo®Pro WIRELESS | Self contained
Freez-Lite |  |  |  | 
CTSTF3L261 | 7TCA091150R0038 | CT 2LED M3 | Naveo | Self contained
STF3L261 | 7TCA091070R0099 | 2LED M3 | Self test | Self contained
DLSTF3LS60 | 7TCA091180R0375 | 3W LED DALI M3 | DALI | Self contained
Click on any item to access product sheet

## Slide 102: AQUALUX
Slave
Home
Function
Aqualux
Product Page
Order Code | GID Number | Description | Technology | 
OW1L261HF | 7TCA091130R0245 | 2XLED SIGN 230VHF | Standard | Slave
OW1L261LTC | 7TCA091140R0211 | 2XLED 230V LTC | Emex test | Slave
Click on any item to access product sheet
Related Central
Battery Systems

## Slide 103: INDULUX
Self contained
Home
Function
Indulux
Product Page
Order Code | GID Number | Description | Technology | 
CTIND3LS5 | 7TCA091720R0181 | Indulux LED S/S M3 CT | Naveo®Pro WIRED | Self contained
CTIND3LS5DS | 7TCA091720R0182 | Indulux LED D/S M3 CT | Naveo®Pro WIRED | Self contained
11120406/50BT | 7TCA305020R0323 | XTE9200S-M3/BT | Naveo®Pro WIRELESS | Self contained
11120407/50BT | 7TCA305020R0331 | XT9200S-M3/BT | Naveo®Pro WIRELESS | Self contained
IND3LS5 | 7TCA091720R0178 | Indulux LED S/S M3 ST | Self test | Self contained
IND3LS5DS | 7TCA091720R0179 | Indulux LED D/S M3 ST | Self test | Self contained
Click on any item to access product sheet

## Slide 104: INDULUX
Slave
Home
Function
Indulux
Product Page
Order Code | GID Number | Description | Technology | 
IND1LS5 | 7TCA091720R0175 | Indulux LED S/S 230V Slave | Standard | Slave
IND1LS5DS | 7TCA091720R0176 | Indulux LED D/S 230V Slave | Standard | Slave
IND1LS5DSLTC | 7TCA091720R0177 | Indulux LED D/S 230V LTC | Emex test | Slave
IND1LSLTC | 7TCA091720R0180 | Indulux LED S/S 230V LTC | Emex test | Slave
Click on any item to access product sheet
Related Central
Battery Systems

## Slide 105: DAY-LITE EX-CEL
Self contained
Home
Function
Day-Lite Ex-Cel
Product Page
Order Code | GID Number | Description | Technology | 
CTXXW3LS1 | 7TCA091180R0355 | LED 2W M3 DAYLITE WHT/OPL CT | Naveo | Self contained
CTXXW3LS11 | 7TCA091180R0356 | LED 2W M3 DAYLITE WHT/CLR CT | Naveo | Self contained
IR2XXW3LS1 | 7TCA091170R0039 | SLIM IP65 LED 2W M3 WH/OPL IR2 | IR2 | Self contained
IR2XXW3LS11 | 7TCA091170R0040 | SLIM IP65 LED 2W M3 WH/CLR IR2 | IR2 | Self contained
STXXW3LS1 | 7TCA091160R0574 | LED 2W M3 DAYLITE WHT/OPL SLFTST | Self test | Self contained
STXXW3LS11 | 7TCA091160R0575 | LED 2W M3 DAYLITE WHT/CLR SLFTST | Self test | Self contained
XXW1LS1 | 7TCA091130R0556 | LED 2W HF DAYLITE WHT/OPL | Self test | Self contained
XXW1LS11 | 7TCA091130R0557 | LED 2W HF DAYLITE WHT/CLR | Self test | Self contained
CTXXW3LS11BT | 7TCA305020R0207 | XTE520S-M3/BT PR | Naveo®Pro WIRELESS | Self contained
CTXXW3LS1BT | 7TCA305020R0208 | XTE520S-M3/BT OP | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet

## Slide 106: DAY-LITE EX-CEL
Slave
Home
Function
Day-Lite Ex-Cel
Product Page
Order Code | GID Number | Description | Technology | 
LTCXXW1LS1 | 7TCA091140R0544 | LED 2W LTC DAYLITE WHT/OPL | Standard | Slave
LTCXXW1LS11 | 7TCA091140R0545 | LED 2W LTC DAYLITE WHT/CLR | Standard | Slave
XW8LS1 | 7TCA091130R0555 | LED 1W 50V ACDC DAYLITE WHT/OPL | Standard | Slave
XW8LS11 | 7TCA091130R0279 | LED 1W 50V ACDC DAYLITE WHT/CLR | Standard | Slave
Click on any item to access product sheet
Related Central
Battery Systems

## Slide 107: OVANO
Self contained
Home
Function
Ovano
Product Page
Order Code | GID Number | Description | Technology | 
Exit sign |  |  |  | 
XT230RS/DALI | 7TCA091720R0155 | XT230RS | DALI | Self contained
XT224SM/DALI | 7TCA091720R0156 | XT224SM | DALI | Self contained
XT230H/DALI | 7TCA091720R0154 | Ovano XT230H | DALI | Self contained
Escape route |  |  |  | 
XT200M3H/DALI | 7TCA091720R0153 | XT200M3H | DALI | Self contained
XT201M3H/DALI | 7TCA091720R0152 | XT201M3H | DALI | Self contained
Click on any item to access product sheet

## Slide 108: NAVIGATOR COMPACT
Self contained
Home
Function
Navigator Compact
Product Page
Order Code | GID Number | Description | Technology | 
CTVVE3LS1X | 7TCA091180R0351 | LED 2W M3 NAVI COMPACT WHT CT | Naveo | Self contained
IR2VVE3LS1X | 7TCA091170R0035 | LED 2W M3 NAVI COMPACT WHT IR2 | IR2 | Self contained
STVVE3LS1X | 7TCA091160R0570 | LED 2W M3 NAVI COMPACT WHT SLFTST | Self test | Self contained
Click on any item to access product sheet

## Slide 109: NAVIGATOR COMPACT
Slave
Home
Function
Navigator Compact
Product Page
Order Code | GID Number | Description | Technology | 
LTCVVE1LS1X | 7TCA091140R0540 | LED 2W LTC NAVI COMPACT WHT | Standard | Slave
VVE1LS1X | 7TCA091130R0547 | LED 2W HF NAVI COMPACT WHT | Standard | Slave
VVE8LS1X | 7TCA091130R0548 | LED 1W 24-50V ACDC NAVI COMPACT WHT | Standard | Slave
Click on any item to access product sheet
Related Central
Battery Systems

## Slide 110: WEATHERFORCE
Self contained
Home
Function
Weatherforce
Product Page
Order Code | GID Number | Description | Technology | 
Exit sign |  |  |  | 
CTWWA3LS1X | 7TCA091180R0354 | LED 2W M3 W/FORCE WHT/NO DIFF CT | Naveo | Self contained
IR2WWA3LS1X | 7TCA091170R0038 | LED 2W M3 W/FORCE WHT/NO DIFF IR2 | IR2 | Self contained
STWWA3LS1X | 7TCA091160R0573 | LED 2W M3 W/FORCE WHT/NO DIFF SLFTST | Self test | Self contained
CTWWA3LS1BT | 7TCA305020R0206 | XTE9000S-M3/BT OP | Naveo®Pro WIRELESS | Self contained
DAWWA3LS1 | 7TCA305025R0035 | XTE9000S-M3/DALI OP | DALI | Self Contained
DAWWA3LS11 | 7TCA305025R0038 | XTE9000S-M3/DALI PR | DALI | Self Contained
Escape route |  |  |  | 
CTWWA3LS1 | 7TCA091180R0352 | LED 2W M3 W/FORCE WHT/OPL CT | Naveo | Self contained
CTWWA3LS11 | 7TCA091180R0353 | LED 2W M3 W/FORCE WHT/PRIS CT | Naveo | Self contained
IR2WWA3LS1 | 7TCA091170R0036 | LED 2W M3 W/FORCE WHT/OPL IR2 | IR2 | Self contained
IR2WWA3LS11 | 7TCA091170R0037 | LED 2W M3 W/FORCE WHT/PRIS IR2 | IR2 | Self contained
STWWA3LS1 | 7TCA091160R0571 | LED 2W M3 W/FORCE WHT/OPL SLFTST | Self test | Self contained
STWWA3LS11 | 7TCA091160R0572 | LED 2W M3 W/FORCE WHT/PRIS SLFTST | Self test | Self contained
CTWWA3LS11BT | 7TCA305020R0205 | XTE9000S-M3/BT PR | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet

## Slide 111: WEATHERFORCE
Slave
Home
Function
Weatherforce
Product Page
Order Code | GID Number | Description | Technology | 
Exit sign |  |  |  | 
LTCWWA1LS1X | 7TCA091140R0543 | LED 2W LTC W/FORCE WHT/NO DIFF LTC | Emex test | Slave
WWA1LS1X | 7TCA091130R0551 | LED 2W HF W/FORCE WHT/NO DIFF | Standard | Slave
WWA8LS1X | 7TCA091130R0554 | LED 1W 24-50VACDC W/FORCE WHT/NO DIFF | Standard | Slave
Escape route |  |  |  | 
LTCWWA1LS1 | 7TCA091140R0541 | LED 2W LTC W/FORCE WHT/OPL LTC | Emex test | Slave
LTCWWA1LS11 | 7TCA091140R0542 | LED 2W LTC W/FORCE WHT/PRIS LTC | Emex test | Slave
WWA1LS1 | 7TCA091130R0549 | LED 2W HF W/FORCE WHT/OPL | Standard | Slave
WWA1LS11 | 7TCA091130R0550 | LED 2W HF W/FORCE WHT/PRIS | Standard | Slave
WWA8LS1 | 7TCA091130R0552 | LED 1W 24-50VACDC W/FORCE WHT/OPL | Standard | Slave
WWA8LS11 | 7TCA091130R0553 | LED 1W 24-50VACDC W/FORCE WHT/PRIS | Standard | Slave
Click on any item to access product sheet
Related Central
Battery Systems

## Slide 112: SERENGA 2
Self contained
Home
Function
Serenga 2
Product Page
Click on any item to access product sheet
Order Code | GID Number | Description | Technology | 
Recessed – Round shape |  |  |  | 
CTSR2-DEA-M3 | 7TCA091180R0236 | REC M3 CT-NAVEO ESC-L4M WH | Naveo®Pro WIRED | Self contained
5520237161/50BT | 7TCA305020R0213 | EL2200R-M3/BT ER | Naveo®Pro WIRELESS | Self contained
5520237164/50BT | 7TCA305020R0214 | EL2200R-M3/BT OA | Naveo®Pro WIRELESS | Self contained
SR2-DEA-M3 | 7TCA091160R0445 | REC M3 AUTOTST ESC-4MH WH | Self test | Self contained
Recessed – Square shape |  |  |  | 
CTSR2Q-DEA-M3 | 7TCA091180R0237 | REC-SQ M3 CT-NAVEO ESC-L4M WH | Naveo®Pro WIRED | Self contained
5520237171/50BT | 7TCA305020R0215 | EL2200RQ-M3/BT ER | Naveo®Pro WIRELESS | Self contained
5520237174/50BT | 7TCA305020R0216 | EL2200RQ-M3/BT OA | Naveo®Pro WIRELESS | Self contained
SR2Q-DEA-M3 | 7TCA091160R0443 | REC-SQ M3 AUTOTST ESC-L4M WH | Self test | Self contained
DASR2-DEA-M3 | 7TCA091180R0343 | REC M3 DALI ESC-4MH WH | DALI | Self contained

## Slide 113: SERENGA 2
Self contained
Home
Function
Serenga 2
Product Page
Order Code | GID Number | Description | Technology | 
Surface mount |  |  |  | 
CTSR2-SEM3-A1 | 7TCA091180R0234 | SFC M3 CT-NAVEO ESC-L4M WH | Naveo®Pro WIRED | Self contained
5520237151/50BT | 7TCA305020R0242 | EL2200S-M3/BT ER | Naveo®Pro WIRELESS | Self contained
5520237158/50BT | 7TCA305020R0243 | EL2200S-M3/BT HE | Naveo®Pro WIRELESS | Self contained
5520237159/50BT | 7TCA305020R0244 | EL2200S-M3/BT HO | Naveo®Pro WIRELESS | Self contained
5520237154/50BT | 7TCA305020R0245 | EL2200S-M3/BT OA | Naveo®Pro WIRELESS | Self contained
5523237157/50BT | 7TCA305020R0246 | EL2200W-M3/BT S | Naveo®Pro WIRELESS | Self contained
SR2-SEM3-A1 | 7TCA091160R0431 | SFC M3 AUTOTST ESC-L4M WH | Self test | Self contained
DASR2-SEM3-A1 | 7TCA091180R0345 | SFC M3 DALI ESC-L4M WH | DALI | Self contained
Click on any item to access product sheet

## Slide 114: SERENGA 2
Slave
Home
Function
Serenga 2
Product Page
Click on any item to access product sheet
Related Central
Battery Systems
Order Code | GID Number | Description | Technology | 
Recessed – Round shape |  |  |  | 
SR2-DEA-230 | 7TCA091130R0463 | REC 230V ESC-L4M WH | Standard | Slave
SR2-DEA-230LT | 7TCA091180R0240 | REC 230V EMEX ESC-L4M WH | Emex test | Slave
Recessed – Square shape |  |  |  | 
SR2Q-DEA-230 | 7TCA091130R0464 | REC-SQ 230V ESC L4M WH | Standard | Slave
SR2Q-DEA-230LT | 7TCA091180R0241 | REC-SQ 230V EMEX ESC-L4M WH | Emex test | Slave
Surface mount |  |  |  | 
SR2-SE230-A1 | 7TCA091130R0465 | SFC 230V ESC-L4M WH | Standard | Slave
SR2-SE230LT-A1 | 7TCA091180R0238 | SFC 230V EMEX ESC-L4M WH | Emex test | Slave

## Slide 115: CAMARQUE
Self contained
Home
Function
Camarque
Product Page
Order Code | GID Number | Description | Technology | 
CTCLQ4LA1 | 7TCA091180R0347 | CLQ LED 2D WH/OPAL CT | Naveo | Self contained
IR2CLQ4LA1 | 7TCA091170R0031 | CLQ LED 2D WH/OPAL IR2 | IR2 | Self contained
STCLQ4LA1 | 7TCA091160R0566 | CLQ LED 2D WH/OPAL SLFTST | Self test | Self contained
Click on any item to access product sheet

## Slide 116: CAMARQUE
Slave
Home
Function
Camarque
Product Page
Order Code | GID Number | Description | Technology | 
CLQ1LA1 | 7TCA091130R0542 | CLQ LED 2D WH/OPAL HF | Standard | Slave
LTCCLQ1LA1 | 7TCA091140R0536 | CLQ LED 2D WH/OPAL LTC | Emex test | Slave
Click on any item to access product sheet
Related Central
Battery Systems

## Slide 117: CORDONA
Self contained
Home
Function
Cordona
Product Page
Order Code | GID Number | Description | Technology | 
CTCPW4LA1 | 7TCA091180R0348 | LED 2D M3 WH/OPL-OPT CT | Naveo | Self contained
CTCPW4LA11 | 7TCA091180R0349 | LED 2D M3 WH/CLR-OPT CT | Naveo | Self contained
IR2CPW4LA1 | 7TCA091170R0032 | LED 2D M3 WH/OPL-OPT IR2 | IR2 | Self contained
IR2CPW4LA11 | 7TCA091170R0033 | LED 2D M3 WH/CLR-OPT IR2 | IR2 | Self contained
STCPW4LA1 | 7TCA091160R0567 | LED 2D M3 WH/OPL-OPT SLFTST | Self test | Self contained
STCPW4LA11 | 7TCA091160R0568 | LED 2D M3 WH/CLR-OPT SLFTST | Self test | Self contained
CTCPW4LA11BT | 7TCA305020R0202 | EL530S-M3/BT PR | Naveo®Pro WIRELESS | Self contained
CTCPW4LA1BT | 7TCA305020R0203 | EL530S-M3/BT OP | Naveo®Pro WIRELESS | Self contained
DACPW4LA1 | 7TCA305025R0029 | EL530S-M3/DALI OP | DALI | Self Contained
DACPW4LA11 | 7TCA305025R0032 | EL530S-M3/DALI PR | DALI | Self Contained
Click on any item to access product sheet

## Slide 118: CORDONA
Slave
Home
Function
Cordona
Product Page
Order Code | GID Number | Description | Technology | 
CPW1LA1 | 7TCA091130R0543 | LED 2D WH/OPL-OPT HF | Standard | Slave
CPW1LA11 | 7TCA091130R0544 | LED 2D WH/CLR-OPT HF | Standard | Slave
LTCCPW1LA1 | 7TCA091140R0537 | LED 2D WH/OPL-OPT LTC | Emex test | Slave
LTCCPW1LA11 | 7TCA091140R0538 | LED 2D WH/CLR-OPT LTC | Emex test | Slave
Click on any item to access product sheet
Related Central
Battery Systems

## Slide 119: HYLED
Self contained
Home
Function
Hyled
Product Page
Order Code | GID Number | Description | Technology | 
CTHY3LA2 | 7TCA091720R0080 | HY-LED CT-M/NM3 OA GY PC IP65 | Naveo®Pro WIRED | Self contained
CTHY3LE2 | 7TCA091720R0081 | HY-LED CT-M/NM3 ESC GY PC IP65 | Naveo®Pro WIRED | Self contained
HY3LA2 | 7TCA091720R0065 | HY-LED M/NM3 OA GY PC IP65 | Self test | Self contained
HY3LE2 | 7TCA091720R0064 | HY-LED M/NM3 ESC GY PC IP65 | Self test | Self contained
CTHY3LA2BT | 7TCA305020R0347 | EL9300S-M3/BT OA | Naveo®Pro WIRELESS | Self contained
CTHY3LE2BT | 7TCA305020R0355 | EL9300S-M3/BT ER | Naveo®Pro WIRELESS | Self contained
DAHY3LA2 | 7TCA305025R0047 | HY-LED DALI-M/NM3 OA GY PC IP65 | DALI | Self Contained
DAHY3LE2 | 7TCA305025R0048 | HY-LED DALI-M/NM3 ESC GY PC IP65 | DALI | Self Contained
11370047/50 | 7TCA305025R0045 | EL9300S-M3/DALI ER | DALI | Self Contained
11370057/50 | 7TCA305025R0046 | EL9300S-M3/DALI OA | DALI | Self Contained
Click on any item to access product sheet

## Slide 120: HYLED
Slave
Home
Function
Hyled
Product Page
Order Code | GID Number | Description | Technology | 
HY1LA2HF | 7TCA091720R0105 | HY-LED 230V50HZ HF OA PC IP65 | Standard | Slave
HY1LA2LTC | 7TCA091720R0120 | HY-LED 230V50HZ LTC OA PC IP65 | Emex test | Slave
HY1LE2HF | 7TCA091720R0104 | HY-LED 230V50HZ HF ESC PC IP65 | Standard | Slave
HY1LE2LTC | 7TCA091720R0119 | HY-LED 230V50HZ LTC ESC PC IP65 | Emex test | Slave
Click on any item to access product sheet
Related Central
Battery Systems

## Slide 121: LUTIA
Self contained
Home
Function
Lutia
Product Page
Order Code | GID Number | Description | Technology | 
STLU3LB1E | 7TCA091160R0597 | Lutia LED ESC M3 ST | Self test | Self contained
DALU3LB1E | 7TCA305020R0062 | Lutia LED ESC M3 DALI | DALI | Self contained
CTLU3LB1E | 7TCA305020R0003 | Lutia LED ESC M3 CT - Naveo | Naveo®Pro WIRED | Self contained
65760230/50BT | 7TCA309010R0071 | EL9400S-M3/BT ER | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet

## Slide 122: LUTIA
Slave
Home
Function
Lutia
Product Page
Order Code | GID Number | Description | Technology | 
LU1LB1E | 7TCA091130R0582 | Lutia LED ESC 230V | Standard | Slave
LTCLU1LB1E | 7TCA091140R0556 | Lutia LED ESC 230V LTC | Emex test | Slave
Click on any item to access product sheet
Related Central
Battery Systems

## Slide 123: GUIDEWAY
Recessed
Home
Function
Guideway
Product Page
Order Code | GID Number | Description | Technology | 
CTEGR3LS1-S22 | 7TCA091180R0254 | REC LED SIGN M3 CT-TST 22M | Naveo®Pro WIRED | Self Contained
EGR1LS1D-S22 | 7TCA091130R0406 | REC LED SIGN 230DIM 22M | Standard | Slave
EGR1LS1LTC-S22 | 7TCA091140R0530 | REC LED SIGN SLAVE LTC 230VAC 22M | Emex test | Slave
EGR1LS1-S22 | 7TCA091130R0408 | REC LED SIGN SLAVE 230VAC 22M | Standard | Slave
EGR3LS1-S22 | 7TCA091160R0361 | REC LED SIGN M3 22M | Self test | Self Contained
DAEGR3LS1-S22 | 7TCA091180R0340 | REC LED SIGN M3 22M DALI | DALI | Self Contained
CTEGR3LS1-S32 | 7TCA091180R0255 | REC LED SIGN M3 CT-TST 32M | Naveo®Pro WIRED | Self Contained
EGR1LS1D-S32 | 7TCA091130R0407 | REC LED SIGN SLAVE 230DIM 32M | Standard | Slave
EGR1LS1LTC-S32 | 7TCA091140R0531 | REC LED SIGN SLAVE LTC 230 VAC 32M | Emex test | Slave
EGR1LS1-S32 | 7TCA091130R0409 | REC LED SIGN SLAVE 230 VAC 32M | Standard | Slave
EGR3LS1-S32 | 7TCA091160R0362 | REC LED SIGN M3 32M | Self test | Self Contained
DAEGR3LS1-S32 | 7TCA091180R0341 | REC LED SIGN M3 32M DALI | DALI | Self Contained
4510236162/50BT | 7TCA305020R0210 | XT3300R-M3/BT 22M ALU | Naveo®Pro WIRELESS | Self Contained
4510236163/50BT | 7TCA305020R0211 | XT3300R-M3/BT 32M ALU | Naveo®Pro WIRELESS | Self Contained
Click on any item to access product sheet

## Slide 124: GUIDEWAY
Surface
Home
Function
Guideway
Product Page
Order Code | GID Number | Description | Technology | 
CTEG3LS1-S22 | 7TCA091180R0256 | LED SIGN M3 CT-TST 22M | Naveo®Pro WIRED | Self Contained
EG1LS1D-S22 | 7TCA091130R0402 | LED SIGN SLAVE 230VAC DIM 22M | Standard | Slave
EG1LS1LTC-S22 | 7TCA091140R0527 | LED SIGN SLAVE LTC 230VAC 22M | Emex Test | Slave
EG1LS1-S22 | 7TCA091130R0404 | LED SIGN SLAVE 230VAC 22M | Standard | Slave
EG3LS1-S22 | 7TCA091160R0359 | LED SIGN M3 22M | Self test | Self Contained
DAEG3LS1-S22 | 7TCA091180R0338 | LED SIGN M3 22M DALI | DALI | Self Contained
CTEG3LS1-S32 | 7TCA091180R0257 | LED SIGN M3 CT-TST 32M | Naveo®Pro WIRED | Self Contained
EG1LS1D-S32 | 7TCA091130R0403 | LED SIGN SLAVE 230VAC DIM 32M | Standard | Slave
EG1LS1LTC-S32 | 7TCA091140R0524 | LED SIGN SLAVE LTC 230VAC 32M | Emex test | Slave
EG1LS1-S32 | 7TCA091130R0405 | LED SIGN SLAVE 230VAC 32M | Standard | Slave
EG3LS1-S32 | 7TCA091160R0360 | LED SIGN M3 32M | Self test | Self Contained
DAEG3LS1-S32 | 7TCA091180R0339 | LED SIGN M3 32M DALI | DALI | Self Contained
4510236152/50BT | 7TCA305020R0293 | XT3300S-M3/BT 22M ALU | Naveo®Pro WIRELESS | Self Contained
4513216153/50BT | 7TCA305020R0307 | XT3300S-M3/BT 32M ALU | Naveo®Pro WIRELESS | Self Contained
Click on any item to access product sheet

## Slide 125: HORIZON
Recessed
Home
Function
Horizon
Product Page
Order Code | GID Number | Description | Technology | 
CTOZ3L261 | 7TCA091180R0116 | CT 2LED REC-SIGN M3 | Naveo | Self contained
IR2OZ3L261 | 7TCA091170R0009 | REC 2LED M3 IR2 | IR2 | Self contained
OZ3L261 | 7TCA091070R0096 | 2LED REC-SIGN M3 | Self test | Self contained
OZ1L261HF | 7TCA091070R0095 | 2XLED REC-SIGN 230VHF | Standard | Slave
OZ1L261LTC | 7TCA091090R0040 | 2XLED REC-SIGN 230VLTC | Emex test | Slave
OZ3L261V2 | 7TCA091160R0301 | 2LED REC-SIGN M3 60HZ | Self test | Self contained
OZD3LS61V2 | 7TCA091160R0302 | LEDS REC-EDGE SIGN M3 60HZ | Self test | Self contained
CTOZD3LS61 | 7TCA091180R0117 | CT LED REC-EDGE SIGN M3 | Naveo | Self contained
IR2OZD3LS61 | 7TCA091170R0010 | REC D-S LEDS M3 IR2 | IR2 | Self contained
OZD1LS61HF | 7TCA091070R0097 | LEDS REC-EDG SIGN 230HF | Standard | Slave
OZD1LS61LTC | 7TCA091090R0041 | LEDS REC-EDG SIGN 230LTC | Emex test | Slave
OZD3LS61 | 7TCA091160R0202 | LEDS REC-EDGE SIGN M3 | Self test | Self contained
Click on any item to access product sheet

## Slide 126: HORIZON
Surface
Home
Function
Horizon
Product Page
Order Code | GID Number | Description | Technology | 
CTOH3L261 | 7TCA091180R0114 | CT 2LED SIGN M3 | Naveo | Self contained
IR2OH3L261 | 7TCA091170R0006 | 2LED M3 IR2 | IR2 | Self contained
OH3L261 | 7TCA091160R0198 | 2LED SIGN M3 | Self test | Self contained
OH1L261HF | 7TCA091130R0243 | 2XLED SIGN 230VHF | Standard | Slave
OH1L261LTC | 7TCA091090R0036 | 2XLED SIGN 230VLTC | Standard | Slave
OH3L261V2 | 7TCA091160R0300 | 2LEDS SIGN M3 220V60HZ | Self test | Self contained
CTOHD3LS61 | 7TCA091180R0115 | CT LEDS EDGE SIGH M3 | Naveo | Self contained
IR2OHD3LS61 | 7TCA091170R0007 | D-S LEDS M3 IR2 | IR2 | Self contained
OHD1LS61HF | 7TCA091130R0244 | LEDS EDGE SIGN 230VHF | Standard | Slave
OHD1LS61LTC | 7TCA091090R0037 | LEDS EDGE SIGN 230VLTC | Emex test | Slave
OHD3LS61 | 7TCA091160R0199 | LEDS EDGE SIGN M3 | Self test | Self contained
Click on any item to access product sheet

## Slide 127: SERENGA
Surface
Home
Function
Serenga
Product Page
Order Code | GID Number | Description | Technology | 
Control assembly |  |  |  | 
SER-M3-003 | 7TCA091160R0222 | Control module & battery pack | Self test | Self contained
CTSER-M3-003 | 7TCA091180R0127 | Control module & battery pack, CT version | Naveo | Self contained
CTSER-M3V2-003 | 7TCA091180R0258 | Control module & battery pack, CT version | Naveo | Self contained
IR2SER-M3-003 | 7TCA091170R0020 | Control module & battery pack, IR2 version | IR2 | Self contained
SER-M3V2-003 | 7TCA091070R0098 | Control module & battery pack | Self test | Self contained
SER-230-003 | 7TCA091130R0248 | Control module mains | Standard | Slave
SER-230LTC-003 | 7TCA091140R0216 | Control module, LTC version | Emex test | Slave
Click on any item to access product sheet

## Slide 128: PRIMEVO
Recessed
Home
Function
Primevo
Product Page
Order Code | GID Number | Description | Technology | 
RS100E | 7TCA091720R0091 | PrimEvo Recessed downlite | Standard | Self contained
RS100ST | 7TCA091720R0191 | Primevo ST Recessed Downlighter | Self test | Self contained
Click on any item to access product sheet

## Slide 129: PRIMEVO
Surface
Home
Function
Primevo
Product Page
Order Code | GID Number | Description | Technology | 
XT100E | 7TCA091160R0499 | PrimEvo Bulkhead | Standard | Self contained
XT200E | 7TCA091720R0090 | PrimEvo Exit Sign | Standard | Self contained
SM100E | 7TCA091720R0092 | PrimEvo Surface downlite | Standard | Self contained
TW220E | 7TCA091720R0157 | PrimEvo Twinspot | Standard | Self contained
XT200ST | 7TCA091720R0192 | Primevo ST Blade Exit Sign c/w Legend | Self test | Self contained
XT100ST | 7TCA091160R0583 | Primevo ST Bulkhead c/w Exit Sign Legend | Self test | Self contained
SM100ST | 7TCA091720R0193 | Primevo ST Surface Downlighter | Self test | Self contained
Click on any item to access product sheet

## Slide 130: INDULUX
Surface
Home
Function
Indulux
Product Page
Order Code | GID Number | Description | Technology | 
CTIND3LS5 | 7TCA091720R0181 | Indulux LED S/S M3 CT | Naveo | Self contained
CTIND3LS5DS | 7TCA091720R0182 | Indulux LED D/S M3 CT | Naveo | Self contained
IND1LS5 | 7TCA091720R0175 | Indulux LED S/S 230V Slave | Standard | Slave
IND1LS5DS | 7TCA091720R0176 | Indulux LED D/S 230V Slave | Standard | Slave
IND1LS5DSLTC | 7TCA091720R0177 | Indulux LED D/S 230V LTC | Emex test | Slave
IND1LSLTC | 7TCA091720R0180 | Indulux LED S/S 230V LTC | Emex test | Slave
IND3LS5 | 7TCA091720R0178 | Indulux LED S/S M3 ST | Self test | Self contained
IND3LS5DS | 7TCA091720R0179 | Indulux LED D/S M3 ST | Self test | Self contained
Click on any item to access product sheet

## Slide 131: OVANO
Recessed
Home
Function
Ovano
Product Page
Order Code | GID Number | Description | Technology | 
XT200M3H/DALI | 7TCA091720R0153 | XT200M3H | DALI | Self contained
XT201M3H/DALI | 7TCA091720R0152 | XT201M3H | DALI | Self contained
Click on any item to access product sheet

## Slide 132: OVANO
Surface
Home
Function
Ovano
Product Page
Order Code | GID Number | Description | Technology | 
XT230RS/DALI | 7TCA091720R0155 | XT230RS | DALI | Self contained
XT224SM/DALI | 7TCA091720R0156 | XT224SM | DALI | Self contained
XT230H/DALI | 7TCA091720R0154 | Ovano XT230H | DALI | Self contained
Click on any item to access product sheet

## Slide 133: NAVIGATOR COMPACT
Surface
Home
Function
Navigator Compact
Product Page
Order Code | GID Number | Description | Technology | 
CTVVE3LS1X | 7TCA091180R0351 | LED 2W M3 NAVI COMPACT WHT CT | Naveo | Self contained
IR2VVE3LS1X | 7TCA091170R0035 | LED 2W M3 NAVI COMPACT WHT IR2 | IR2 | Self contained
LTCVVE1LS1X | 7TCA091140R0540 | LED 2W LTC NAVI COMPACT WHT | Standard | Slave
STVVE3LS1X | 7TCA091160R0570 | LED 2W M3 NAVI COMPACT WHT SLFTST | Self test | Self contained
VVE1LS1X | 7TCA091130R0547 | LED 2W HF NAVI COMPACT WHT | Standard | Slave
VVE8LS1X | 7TCA091130R0548 | LED 1W 24-50V ACDC NAVI COMPACT WHT | Standard | Slave
Click on any item to access product sheet

## Slide 134: OPTIMA
Surface
Home
Function
Optima
Product Page
Order Code | GID Number | Description | Technology | 
442350S | 7TCA304050R0033 | EL350S-230/LTC/1000L | Emex Test | Slave
442351S | 7TCA304050R0034 | EL350S-230/1000L | Standard | Slave
442352S | 7TCA304020R0004 | XTE350S-230/LTC | Emex Test | Slave
442353S | 7TCA304050R0035 | XTE350S-230 | Standard | Slave
6017618/50 | 7TCA309010R0041 | XTE350S-M3/ST | Self test | Self Contained
6017621/50 | 7TCA309010R0040 | XTE350S-M3/ST IP65 | Self test | Self Contained
Click on any item to access product sheet

## Slide 135: OPTIMA
Emex Test
Home
Function
Optima
Product Page
Order Code | GID Number | Description | Technology | 
442350S | 7TCA304050R0033 | EL350S-230/LTC/1000L | Emex Test | Slave
442352S | 7TCA304020R0004 | XTE350S-230/LTC | Emex Test | Slave
Click on any item to access product sheet

## Slide 136: OPTIMA
Standard
Home
Function
Optima
Product Page
Order Code | GID Number | Description | Technology | 
442351S | 7TCA304050R0034 | EL350S-230/1000L | Standard | Slave
442353S | 7TCA304050R0035 | XTE350S-230 | Standard | Slave
Click on any item to access product sheet

## Slide 137: OPTIMA
Self Test
Home
Function
Optima
Product Page
Order Code | GID Number | Description | Technology | 
6017618/50 | 7TCA309010R0041 | XTE350S-M3/ST | Self test | Self Contained
6017621/50 | 7TCA309010R0040 | XTE350S-M3/ST IP65 | Self test | Self Contained
Click on any item to access product sheet

## Slide 138: OPTIMA
Exit sign
Home
Function
Optima
Product Page
Order Code | GID Number | Description | Technology | 
6017618/50 | 7TCA309010R0041 | XTE350S-M3/ST | Self test | Self Contained
6017621/50 | 7TCA309010R0040 | XTE350S-M3/ST IP65 | Self test | Self Contained
Click on any item to access product sheet

## Slide 139: OPTIMA
Escape route lighting
Home
Function
Optima
Product Page
Order Code | GID Number | Description | Technology | 
442350S | 7TCA304050R0033 | EL350S-230/LTC/1000L | Emex Test | Slave
442351S | 7TCA304050R0034 | EL350S-230/1000L | Standard | Slave
442352S | 7TCA304020R0004 | XTE350S-230/LTC | Emex Test | Slave
442353S | 7TCA304050R0035 | XTE350S-230 | Standard | Slave
Click on any item to access product sheet

## Slide 140: OPTIMA
Self Contained
Home
Function
Optima
Product Page
Order Code | GID Number | Description | Technology | 
6017618/50 | 7TCA309010R0041 | XTE350S-M3/ST | Self test | Self Contained
6017621/50 | 7TCA309010R0040 | XTE350S-M3/ST IP65 | Self test | Self Contained
Click on any item to access product sheet

## Slide 141: OPTIMA
Slave
Home
Function
Optima
Product Page
Order Code | GID Number | Description | Technology | 
442350S | 7TCA304050R0033 | EL350S-230/LTC/1000L | Emex Test | Slave
442351S | 7TCA304050R0034 | EL350S-230/1000L | Standard | Slave
442352S | 7TCA304020R0004 | XTE350S-230/LTC | Emex Test | Slave
442353S | 7TCA304050R0035 | XTE350S-230 | Standard | Slave
Click on any item to access product sheet

## Slide 142: SERENGA 2
Recessed
Home
Function
Serenga 2
Product Page
Order Code | GID Number | Description | Technology | 
Round shape |  |  |  | 
CTSR2-DEA-M3 | 7TCA091180R0236 | REC M3 CT-NAVEO ESC-L4M WH | Naveo®Pro WIRED | Self contained
5520237161/50BT | 7TCA305020R0213 | EL2200R-M3/BT ER | Naveo®Pro WIRELESS | Self contained
5520237164/50BT | 7TCA305020R0214 | EL2200R-M3/BT OA | Naveo®Pro WIRELESS | Self contained
SR2-DEA-230 | 7TCA091130R0463 | REC 230V ESC-L4M WH | Standard | Slave
SR2-DEA-230LT | 7TCA091180R0240 | REC 230V EMEX ESC-L4M WH | Emex test | Slave
SR2-DEA-M3 | 7TCA091160R0445 | REC M3 AUTOTST ESC-4MH WH | Self test | Self contained
Square shape |  |  |  | 
CTSR2Q-DEA-M3 | 7TCA091180R0237 | REC-SQ M3 CT-NAVEO ESC-L4M WH | Naveo®Pro WIRED | Self contained
5520237171/50BT | 7TCA305020R0215 | EL2200RQ-M3/BT ER | Naveo®Pro WIRELESS | Self contained
5520237174/50BT | 7TCA305020R0216 | EL2200RQ-M3/BT OA | Naveo®Pro WIRELESS | Self contained
SR2Q-DEA-230 | 7TCA091130R0464 | REC-SQ 230V ESC L4M WH | Standard | Slave
SR2Q-DEA-230LT | 7TCA091180R0241 | REC-SQ 230V EMEX ESC-L4M WH | Emex test | Slave
SR2Q-DEA-M3 | 7TCA091160R0443 | REC-SQ M3 AUTOTST ESC-L4M WH | Self test | Self contained
DASR2-DEA-M3 | 7TCA091180R0343 | REC M3 DALI ESC-4MH WH | DALI | Self contained
Click on any item to access product sheet

## Slide 143: SERENGA 2
Surface
Home
Function
Serenga 2
Product Page
Order Code | GID Number | Description | Technology | 
CTSR2-SEM3-A1 | 7TCA091180R0234 | SFC M3 CT-NAVEO ESC-L4M WH | Naveo®Pro WIRED | Self contained
5520237151/50BT | 7TCA305020R0242 | EL2200S-M3/BT ER | Naveo®Pro WIRELESS | Self contained
5520237158/50BT | 7TCA305020R0243 | EL2200S-M3/BT HE | Naveo®Pro WIRELESS | Self contained
5520237159/50BT | 7TCA305020R0244 | EL2200S-M3/BT HO | Naveo®Pro WIRELESS | Self contained
5520237154/50BT | 7TCA305020R0245 | EL2200S-M3/BT OA | Naveo®Pro WIRELESS | Self contained
5523237157/50BT | 7TCA305020R0246 | EL2200W-M3/BT S | Naveo®Pro WIRELESS | Self contained
SR2-SE230-A1 | 7TCA091130R0465 | SFC 230V ESC-L4M WH | Standard | Slave
SR2-SE230LT-A1 | 7TCA091180R0238 | SFC 230V EMEX ESC-L4M WH | Emex test | Slave
SR2-SEM3-A1 | 7TCA091160R0431 | SFC M3 AUTOTST ESC-L4M WH | Self test | Self contained
DASR2-SEM3-A1 | 7TCA091180R0345 | SFC M3 DALI ESC-L4M WH | DALI | Self contained
Click on any item to access product sheet

## Slide 144: SILVER SCAPE
Self test
Home
Function
Silver Scape
Product Page
Order Code | GID Number | Description | Technology | 
STRRB3LS1X | 7TCA091160R0569 | RECSD B/HEAD 2W M3 LED WHT SLFTST | Self test | Self Contained
Click on any item to access product sheet
More information on
Self test technology

## Slide 145: SILVER SCAPE
More information on
Naveo®Pro technology
Naveo®Pro
Home
Function
Silver Scape
Product Page
Order Code | GID Number | Description | Technology | 
CTRRB3LS1X | 7TCA091180R0350 | RECSD B/HEAD 2W M3 LED WHT CT | Naveo®Pro WIRED | Self Contained
CTRRB3LS1XBT | 7TCA305020R0204 | XTE510R-M3/BT | Naveo®Pro WIRELESS | Self Contained
Click on any item to access product sheet

## Slide 146: SILVER SCAPE
IR2
Home
Function
Silver Scape
Product Page
Order Code | GID Number | Description | Technology | 
IR2RRB3LS1X | 7TCA091170R0034 | RECSD B/HEAD 2W M3 LED WHT IR2 | IR2 | Self Contained
Click on any item to access product sheet
More information on
IR2 technology

## Slide 147: SILVER SCAPE
Emex test
Home
Function
Silver Scape
Product Page
Order Code | GID Number | Description | Technology | 
LTCRRB1LS1X | 7TCA091140R0539 | LED 2W LTC SILVERSCAPE RECESS | Emex test | Slave
Click on any item to access product sheet
More information on
EMEX test

## Slide 148: SILVER SCAPE
Standard
Home
Function
Silver Scape
Product Page
Order Code | GID Number | Description | Technology | 
RB8LS1X | 7TCA091130R0545 | LED 2W 50V ACDC SILVERSCAPE RECESS | Standard | Slave
RRB1LS1X | 7TCA091130R0546 | LED 1W HF SILVERSCAPE RECESS | Standard | Slave
Click on any item to access product sheet

## Slide 149: GUIDEWAY
Self test
Home
Function
Guideway
Product Page
Order Code | GID Number | Description | Technology | 
Recessed |  |  |  | 
EGR3LS1-S22 | 7TCA091160R0361 | REC LED SIGN M3 22M | Self test | Self Contained
EGR3LS1-S32 | 7TCA091160R0362 | REC LED SIGN M3 32M | Self test | Self Contained
Surface |  |  |  | 
EG3LS1-S22 | 7TCA091160R0359 | LED SIGN M3 22M | Self test | Self Contained
EG3LS1-S32 | 7TCA091160R0360 | LED SIGN M3 32M | Self test | Self Contained
Click on any item to access product sheet
More information on
Self test technology

## Slide 150: GUIDEWAY
Naveo®Pro
Home
Function
Guideway
Product Page
Order Code | GID Number | Description | Technology | 
Recessed |  |  |  | 
CTEGR3LS1-S22 | 7TCA091180R0254 | REC LED SIGN M3 CT-TST 22M | Naveo®Pro WIRED | Self Contained
CTEGR3LS1-S32 | 7TCA091180R0255 | REC LED SIGN M3 CT-TST 32M | Naveo®Pro WIRED | Self Contained
Surface |  |  |  | 
CTEG3LS1-S22 | 7TCA091180R0256 | LED SIGN M3 CT-TST 22M | Naveo®Pro WIRED | Self Contained
CTEG3LS1-S32 | 7TCA091180R0257 | LED SIGN M3 CT-TST 32M | Naveo®Pro WIRED | Self Contained
4510236162/50BT | 7TCA305020R0210 | XT3300R-M3/BT 22M ALU | Naveo®Pro WIRELESS | Self Contained
4510236163/50BT | 7TCA305020R0211 | XT3300R-M3/BT 32M ALU | Naveo®Pro WIRELESS | Self Contained
4510236152/50BT | 7TCA305020R0293 | XT3300S-M3/BT 22M ALU | Naveo®Pro WIRELESS | Self Contained
4513216153/50BT | 7TCA305020R0307 | XT3300S-M3/BT 32M ALU | Naveo®Pro WIRELESS | Self Contained
Click on any item to access product sheet
More information on
Naveo®Pro technology

## Slide 151: GUIDEWAY
DALI
Home
Function
Guideway
Product Page
Order Code | GID Number | Description | Technology | 
Recessed |  |  |  | 
DAEGR3LS1-S22 | 7TCA091180R0340 | REC LED SIGN M3 22M DALI | DALI | Self Contained
DAEGR3LS1-S32 | 7TCA091180R0341 | REC LED SIGN M3 32M DALI | DALI | Self Contained
Surface |  |  |  | 
DAEG3LS1-S22 | 7TCA091180R0338 | LED SIGN M3 22M DALI | DALI | Self Contained
DAEG3LS1-S32 | 7TCA091180R0339 | LED SIGN M3 32M DALI | DALI | Self Contained
Click on any item to access product sheet
More information on
DALI technology

## Slide 152: GUIDEWAY
Emex test
Home
Function
Guideway
Product Page
Order Code | GID Number | Description | Technology | 
Recessed |  |  |  | 
EGR1LS1LTC-S22 | 7TCA091140R0530 | REC LED SIGN SLAVE LTC 230VAC 22M | Emex test | Slave
EGR1LS1LTC-S32 | 7TCA091140R0531 | REC LED SIGN SLAVE LTC 230 VAC 32M | Emex test | Slave
Surface |  |  |  | 
EG1LS1LTC-S22 | 7TCA091140R0527 | LED SIGN SLAVE LTC 230VAC 22M | Emex Test | Slave
EG1LS1LTC-S32 | 7TCA091140R0524 | LED SIGN SLAVE LTC 230VAC 32M | Emex test | Slave
Click on any item to access product sheet
More information on
EMEX test

## Slide 153: GUIDEWAY
Standard
Home
Function
Guideway
Product Page
Order Code | GID Number | Description | Technology | 
Recessed |  |  |  | 
EGR1LS1D-S22 | 7TCA091130R0406 | REC LED SIGN 230DIM 22M | Standard | Slave
EGR1LS1-S22 | 7TCA091130R0408 | REC LED SIGN SLAVE 230VAC 22M | Standard | Slave
EGR1LS1D-S32 | 7TCA091130R0407 | REC LED SIGN SLAVE 230DIM 32M | Standard | Slave
EGR1LS1-S32 | 7TCA091130R0409 | REC LED SIGN SLAVE 230 VAC 32M | Standard | Slave
Surface |  |  |  | 
EG1LS1D-S22 | 7TCA091130R0402 | LED SIGN SLAVE 230VAC DIM 22M | Standard | Slave
EG1LS1-S22 | 7TCA091130R0404 | LED SIGN SLAVE 230VAC 22M | Standard | Slave
EG1LS1D-S32 | 7TCA091130R0403 | LED SIGN SLAVE 230VAC DIM 32M | Standard | Slave
EG1LS1-S32 | 7TCA091130R0405 | LED SIGN SLAVE 230VAC 32M | Standard | Slave
Click on any item to access product sheet

## Slide 154: HORIZON
Self test
Home
Function
Horizon
Product Page
Order Code | GID Number | Description | Technology | 
OH3L261 | 7TCA091160R0198 | 2LED SIGN M3 | Self test | Self contained
OZ3L261 | 7TCA091070R0096 | 2LED REC-SIGN M3 | Self test | Self contained
OH3L261V2 | 7TCA091160R0300 | 2LEDS SIGN M3 220V60HZ | Self test | Self contained
OZ3L261V2 | 7TCA091160R0301 | 2LED REC-SIGN M3 60HZ | Self test | Self contained
OZD3LS61V2 | 7TCA091160R0302 | LEDS REC-EDGE SIGN M3 60HZ | Self test | Self contained
OHD3LS61 | 7TCA091160R0199 | LEDS EDGE SIGN M3 | Self test | Self contained
OZD3LS61 | 7TCA091160R0202 | LEDS REC-EDGE SIGN M3 | Self test | Self contained
Click on any item to access product sheet
More information on
Self test technology

## Slide 155: HORIZON
Naveo®Pro
Home
Function
Horizon
Product Page
Order Code | GID Number | Description | Technology | 
CTOH3L261 | 7TCA091180R0114 | CT 2LED SIGN M3 | Naveo®Pro WIRED | Self contained
CTOZ3L261 | 7TCA091180R0116 | CT 2LED REC-SIGN M3 | Naveo®Pro WIRED | Self contained
CTOHD3LS61 | 7TCA091180R0115 | CT LEDS EDGE SIGH M3 | Naveo®Pro WIRED | Self contained
CTOZD3LS61 | 7TCA091180R0117 | CT LED REC-EDGE SIGN M3 | Naveo®Pro WIRED | Self contained
Click on any item to access product sheet
More information on
Naveo®Pro technology

## Slide 156: HORIZON
IR2
Home
Function
Horizon
Product Page
Order Code | GID Number | Description | Technology | 
IR2OH3L261 | 7TCA091170R0006 | 2LED M3 IR2 | IR2 | Self contained
IR2OZ3L261 | 7TCA091170R0009 | REC 2LED M3 IR2 | IR2 | Self contained
IR2OHD3LS61 | 7TCA091170R0007 | D-S LEDS M3 IR2 | IR2 | Self contained
IR2OZD3LS61 | 7TCA091170R0010 | REC D-S LEDS M3 IR2 | IR2 | Self contained
Click on any item to access product sheet
More information on
IR2 technology

## Slide 157: HORIZON
Emex test
Home
Function
Horizon
Product Page
Order Code | GID Number | Description | Technology | 
OH1L261LTC | 7TCA091090R0036 | 2XLED SIGN 230VLTC | Emex test | Slave
OZ1L261LTC | 7TCA091090R0040 | 2XLED REC-SIGN 230VLTC | Emex test | Slave
OHD1LS61LTC | 7TCA091090R0037 | LEDS EDGE SIGN 230VLTC | Emex test | Slave
OZD1LS61LTC | 7TCA091090R0041 | LEDS REC-EDG SIGN 230LTC | Emex test | Slave
Click on any item to access product sheet
More information on
EMEX test

## Slide 158: HORIZON
Standard
Home
Function
Horizon
Product Page
Order Code | GID Number | Description | Technology | 
OH1L261HF | 7TCA091130R0243 | 2XLED SIGN 230VHF | Standard | Slave
OZ1L261HF | 7TCA091070R0095 | 2XLED REC-SIGN 230VHF | Standard | Slave
OHD1LS61HF | 7TCA091130R0244 | LEDS EDGE SIGN 230VHF | Standard | Slave
OZD1LS61HF | 7TCA091070R0097 | LEDS REC-EDG SIGN 230HF | Standard | Slave
Click on any item to access product sheet

## Slide 159: SERENGA
Self test
Home
Function
Serenga
Product Page
Order Code | GID Number | Description | Technology | 
Control assembly |  |  |  | 
SER-M3-003 | 7TCA091160R0222 | Control module & battery pack | Self test | Self contained
SER-M3V2-003 | 7TCA091070R0098 | Control module & battery pack | Self test | Self contained
Click on any item to access product sheet
More information on
Self test technology

## Slide 160: SERENGA
Naveo®Pro
Home
Function
Serenga
Product Page
Order Code | GID Number | Description | Technology | 
Control assembly |  |  |  | 
CTSER-M3-003 | 7TCA091180R0127 | Control module & battery pack, CT version | Naveo®Pro WIRED | Self contained
CTSER-M3V2-003 | 7TCA091180R0258 | Control module & battery pack, CT version | Naveo®Pro WIRED | Self contained
Click on any item to access product sheet
More information on
Naveo®Pro technology

## Slide 161: SERENGA
IR2
Home
Function
Serenga
Product Page
Order Code | GID Number | Description | Technology | 
Control assembly |  |  |  | 
IR2SER-M3-003 | 7TCA091170R0020 | Control module & battery pack, IR2 version | IR2 | Self contained
Click on any item to access product sheet
More information on
IR2 technology

## Slide 162: SERENGA
Emex test
Home
Function
Serenga
Product Page
Order Code | GID Number | Description | Technology | 
Control assembly |  |  |  | 
SER-230LTC-003 | 7TCA091140R0216 | Control module, LTC version | Emex test | Slave
Click on any item to access product sheet
More information on
EMEX test

## Slide 163: SERENGA
Standard
Home
Function
Serenga
Product Page
Order Code | GID Number | Description | Technology | 
Control assembly |  |  |  | 
SER-230-003 | 7TCA091130R0248 | Control module mains | Standard | Slave
Click on any item to access product sheet

## Slide 164: PRIMEVO
Standard
Home
Function
Primevo
Product Page
Order Code | GID Number | Description | Technology | 
XT100E | 7TCA091160R0499 | PrimEvo Bulkhead | Standard | Self contained
XT200E | 7TCA091720R0090 | PrimEvo Exit Sign | Standard | Self contained
RS100E | 7TCA091720R0091 | PrimEvo Recessed downlite | Standard | Self contained
SM100E | 7TCA091720R0092 | PrimEvo Surface downlite | Standard | Self contained
TW220E | 7TCA091720R0157 | PrimEvo Twinspot | Standard | Self contained
Click on any item to access product sheet

## Slide 165: PRIMEVO
Self test
Home
Function
Primevo
Product Page
Order Code | GID Number | Description | Technology | 
XT200ST | 7TCA091720R0192 | Primevo ST Blade Exit Sign c/w Legend | Self test | Self contained
XT100ST | 7TCA091160R0583 | Primevo ST Bulkhead c/w Exit Sign Legend | Self test | Self contained
SM100ST | 7TCA091720R0193 | Primevo ST Surface Downlighter | Self test | Self contained
RS100ST | 7TCA091720R0191 | Primevo ST Recessed Downlighter | Self test | Self contained
Click on any item to access product sheet

## Slide 166: MIREVO TWINSPOT
Standard
Home
Function
MIREVO TWINSPOT
Product Page
Order Code | GID Number | Description | Technology | 
TW500E | 7TCA309010R0039 | MirEvo Twin SP MT 500Lm NM3Hr | Standard | Self contained
Click on any item to access product sheet

## Slide 167: MIREVO TWINSPOT
Self test
Home
Function
MIREVO TWINSPOT
Product Page
Order Code | GID Number | Description | Technology | 
TW500ST | 7TCA305020R0022 | MirEvo Twin SP ST 500Lm NM3Hr | Self test | Self contained
Click on any item to access product sheet
More information on
Self test technology

## Slide 168: MIREVO TWINSPOT
Naveo®Pro
Home
Function
MIREVO TWINSPOT
Product Page
Order Code | GID Number | Description | Technology | 
TW500BT | 7TCA305060R0009 | Mirevo Twinspot | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet
More information on
Naveo®Pro technology

## Slide 169: MIREVO TWINSPOT
DALI
Home
Function
MIREVO TWINSPOT
Product Page
Order Code | GID Number | Description | Technology | 
TW500DA | 7TCA305020R0023 | MirEvo Twin SP DALI 500Lm NM3Hr | DALI | Self contained
Click on any item to access product sheet
More information on
DALI technology

## Slide 170: MIREVO TWINSPOT
EMEX
Home
Function
MIREVO TWINSPOT
Product Page
Order Code | GID Number | Description | Technology | 
TW500230V | 7TCA304050R0025 | MirEvo Twin SP CBS230 500Lm 3 Hr | EMEX | Slave
TW500230VLTC | 7TCA304060R0007 | MirEvo Twin SP CBS230 LTC 500Lm 3 Hr | EMEX | Slave
Click on any item to access product sheet
More information on
EMEX test

## Slide 171: AQUALUX
Self test
Home
Function
Aqualux
Product Page
Order Code | GID Number | Description | Technology | 
Freez-Lite STF3L261 | 7TCA091070R0099 | 2LED M3 | Self test | Self contained
OW3L261 | 7TCA091160R0200 | 2LED M3 | Self test | Self contained
OW3L261LS | 7TCA091160R0201 | 2LEDM3 LSENS | Self test | Self contained
OW3L261V2 | 7TCA091160R0278 | 2LED M3 220V60HZ | Self test | Self contained
Click on any item to access product sheet
More information on
Self test technology

## Slide 172: AQUALUX
Naveo®Pro
Home
Function
Aqualux
Product Page
Order Code | GID Number | Description | Technology | 
CTOW3L261 | 7TCA091150R0037 | CT 2LED M3 | Naveo®Pro WIRED | Self contained
CTSTF3L261 | 7TCA091150R0038 | CT 2LED M3 | Naveo®Pro WIRED | Self contained
7339055/50BT | 7TCA305020R0224 | XTE9100S-M3/BT | Naveo®Pro WIRELESS | Self contained
7339955/50BT | 7TCA305020R0225 | XTE9100S-M3/BT FR | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet
More information on
Naveo®Pro technology

## Slide 173: AQUALUX
IR2
Home
Function
Aqualux
Product Page
Order Code | GID Number | Description | Technology | 
IR2OW3L261 | 7TCA091170R0008 | 2LED M3 IR2 | IR2 | Self contained
Click on any item to access product sheet
More information on
IR2 technology

## Slide 174: AQUALUX
Emex test
Home
Function
Aqualux
Product Page
Order Code | GID Number | Description | Technology | 
OW1L261LTC | 7TCA091140R0211 | 2XLED 230V LTC | Emex test | Slave
Click on any item to access product sheet
More information on
EMEX test

## Slide 175: AQUALUX
DALI
Home
Function
Aqualux
Product Page
Order Code | GID Number | Description | Technology | 
DLOW3LS60 | 7TCA091180R0346 | 3W LED DALI M3 | DALI | Self contained
Freez-Lite DLSTF3LS60 | 7TCA091180R0375 | 3W LED DALI M3 | DALI | Self contained
Click on any item to access product sheet
More information on
DALI technology

## Slide 176: AQUALUX
Standard
Home
Function
Aqualux
Product Page
Order Code | GID Number | Description | Technology | 
OW1L261HF | 7TCA091130R0245 | 2XLED SIGN 230VHF | Standard | Slave
Click on any item to access product sheet

## Slide 177: INDULUX
Naveo®Pro
Home
Function
Indulux
Product Page
Order Code | GID Number | Description | Technology | 
CTIND3LS5 | 7TCA091720R0181 | Indulux LED S/S M3 CT | Naveo®Pro WIRED | Self contained
CTIND3LS5DS | 7TCA091720R0182 | Indulux LED D/S M3 CT | Naveo®Pro WIRED | Self contained
11120406/50BT | 7TCA305020R0323 | XTE9200S-M3/BT | Naveo®Pro WIRELESS | Self contained
11120407/50BT | 7TCA305020R0331 | XT9200S-M3/BT | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet
More information on
Naveo®Pro technology

## Slide 178: INDULUX
Self test
Home
Function
Indulux
Product Page
Order Code | GID Number | Description | Technology | 
IND3LS5 | 7TCA091720R0178 | Indulux LED S/S M3 ST | Self test | Self contained
IND3LS5DS | 7TCA091720R0179 | Indulux LED D/S M3 ST | Self test | Self contained
Click on any item to access product sheet
More information on
Self test technology

## Slide 179: INDULUX
Emex test
Home
Function
Indulux
Product Page
Order Code | GID Number | Description | Technology | 
IND1LS5DSLTC | 7TCA091720R0177 | Indulux LED D/S 230V LTC | Emex test | Slave
IND1LSLTC | 7TCA091720R0180 | Indulux LED S/S 230V LTC | Emex test | Slave
Click on any item to access product sheet
More information on
EMEX test

## Slide 180: INDULUX
Standard
Home
Function
Indulux
Product Page
Order Code | GID Number | Description | Technology | 
IND1LS5 | 7TCA091720R0175 | Indulux LED S/S 230V Slave | Standard | Slave
IND1LS5DS | 7TCA091720R0176 | Indulux LED D/S 230V Slave | Standard | Slave
Click on any item to access product sheet

## Slide 181: DAY-LITE EX-CEL
Self test
Home
Function
Day-Lite Ex-Cel
Product Page
Order Code | GID Number | Description | Technology | 
STXXW3LS1 | 7TCA091160R0574 | LED 2W M3 DAYLITE WHT/OPL SLFTST | Self test | Self contained
STXXW3LS11 | 7TCA091160R0575 | LED 2W M3 DAYLITE WHT/CLR SLFTST | Self test | Self contained
XXW1LS1 | 7TCA091130R0556 | LED 2W HF DAYLITE WHT/OPL | Self test | Self contained
XXW1LS11 | 7TCA091130R0557 | LED 2W HF DAYLITE WHT/CLR | Self test | Self contained
Click on any item to access product sheet
More information on
Self test technology

## Slide 182: DAY-LITE EX-CEL
Naveo®Pro
Home
Function
Day-Lite Ex-Cel
Product Page
Order Code | GID Number | Description | Technology | 
CTXXW3LS1 | 7TCA091180R0355 | LED 2W M3 DAYLITE WHT/OPL CT | Naveo®Pro WIRED | Self contained
CTXXW3LS11 | 7TCA091180R0356 | LED 2W M3 DAYLITE WHT/CLR CT | Naveo®Pro WIRED | Self contained
CTXXW3LS11BT | 7TCA305020R0207 | XTE520S-M3/BT PR | Naveo®Pro WIRELESS | Self contained
CTXXW3LS1BT | 7TCA305020R0208 | XTE520S-M3/BT OP | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet
More information on
Naveo®Pro technology

## Slide 183: DAY-LITE EX-CEL
IR2
Home
Function
Day-Lite Ex-Cel
Product Page
Order Code | GID Number | Description | Technology | 
IR2XXW3LS1 | 7TCA091170R0039 | SLIM IP65 LED 2W M3 WH/OPL IR2 | IR2 | Self contained
IR2XXW3LS11 | 7TCA091170R0040 | SLIM IP65 LED 2W M3 WH/CLR IR2 | IR2 | Self contained
Click on any item to access product sheet
More information on
IR2 technology

## Slide 184: DAY-LITE EX-CEL
Emex test
Home
Function
Day-Lite Ex-Cel
Product Page
Order Code | GID Number | Description | Technology | 
LTCXXW1LS1 | 7TCA091140R0544 | LED 2W LTC DAYLITE WHT/OPL | Emex test | Slave
LTCXXW1LS11 | 7TCA091140R0545 | LED 2W LTC DAYLITE WHT/CLR | Emex test | Slave
Click on any item to access product sheet
More information on
EMEX test

## Slide 185: DAY-LITE EX-CEL
Standard
Home
Function
Day-Lite Ex-Cel
Product Page
Order Code | GID Number | Description | Technology | 
XW8LS1 | 7TCA091130R0555 | LED 1W 50V ACDC DAYLITE WHT/OPL | Standard | Slave
XW8LS11 | 7TCA091130R0279 | LED 1W 50V ACDC DAYLITE WHT/CLR | Standard | Slave
Click on any item to access product sheet

## Slide 186: OVANO
DALI
Home
Function
Ovano
Product Page
Order Code | GID Number | Description | Technology | 
XT230RS/DALI | 7TCA091720R0155 | XT230RS | DALI | Self contained
XT224SM/DALI | 7TCA091720R0156 | XT224SM | DALI | Self contained
XT230H/DALI | 7TCA091720R0154 | Ovano XT230H | DALI | Self contained
XT200M3H/DALI | 7TCA091720R0153 | XT200M3H | DALI | Self contained
XT201M3H/DALI | 7TCA091720R0152 | XT201M3H | DALI | Self contained
Click on any item to access product sheet
More information on
DALI technology

## Slide 187: NAVIGATOR COMPACT
Self test
Home
Function
Navigator Compact
Product Page
Order Code | GID Number | Description | Technology | 
STVVE3LS1X | 7TCA091160R0570 | LED 2W M3 NAVI COMPACT WHT SLFTST | Self test | Self contained
Click on any item to access product sheet
More information on
Self test technology

## Slide 188: NAVIGATOR COMPACT
Naveo®Pro
Home
Function
Navigator Compact
Product Page
Order Code | GID Number | Description | Technology | 
CTVVE3LS1X | 7TCA091180R0351 | LED 2W M3 NAVI COMPACT WHT CT | Naveo®Pro WIRED | Self contained
Click on any item to access product sheet
More information on
Naveo®Pro technology

## Slide 189: NAVIGATOR COMPACT
IR2
Home
Function
Navigator Compact
Product Page
Order Code | GID Number | Description | Technology | 
IR2VVE3LS1X | 7TCA091170R0035 | LED 2W M3 NAVI COMPACT WHT IR2 | IR2 | Self contained
Click on any item to access product sheet
More information on
IR2 technology

## Slide 190: NAVIGATOR COMPACT
Emex test
Home
Function
Navigator Compact
Product Page
Order Code | GID Number | Description | Technology | 
LTCVVE1LS1X | 7TCA091140R0540 | LED 2W LTC NAVI COMPACT WHT | Emex test | Slave
Click on any item to access product sheet
More information on
EMEX test

## Slide 191: NAVIGATOR COMPACT
Standard
Home
Function
Navigator Compact
Product Page
Order Code | GID Number | Description | Technology | 
VVE1LS1X | 7TCA091130R0547 | LED 2W HF NAVI COMPACT WHT | Standard | Slave
VVE8LS1X | 7TCA091130R0548 | LED 1W 24-50V ACDC NAVI COMPACT WHT | Standard | Slave
Click on any item to access product sheet

## Slide 192: WEATHERFORCE
Self test
Home
Function
Weatherforce
Product Page
Order Code | GID Number | Description | Technology | 
Exit sign |  |  |  | 
STWWA3LS1X | 7TCA091160R0573 | LED 2W M3 W/FORCE WHT/NO DIFF SLFTST | Self test | Self contained
Escape route |  |  |  | 
STWWA3LS1 | 7TCA091160R0571 | LED 2W M3 W/FORCE WHT/OPL SLFTST | Self test | Self contained
STWWA3LS11 | 7TCA091160R0572 | LED 2W M3 W/FORCE WHT/PRIS SLFTST | Self test | Self contained
Click on any item to access product sheet
More information on
Self test technology

## Slide 193: WEATHERFORCE
Naveo®Pro
Home
Function
Weatherforce
Product Page
Order Code | GID Number | Description | Technology | 
CTWWA3LS1X | 7TCA091180R0354 | LED 2W M3 W/FORCE WHT/NO DIFF CT | Naveo®Pro WIRED | Self contained
CTWWA3LS1 | 7TCA091180R0352 | LED 2W M3 W/FORCE WHT/OPL CT | Naveo®Pro WIRED | Self contained
CTWWA3LS11 | 7TCA091180R0353 | LED 2W M3 W/FORCE WHT/PRIS CT | Naveo®Pro WIRED | Self contained
CTWWA3LS1BT | 7TCA305020R0206 | XTE9000S-M3/BT OP | Naveo®Pro WIRELESS | Self contained
CTWWA3LS11BT | 7TCA305020R0205 | XTE9000S-M3/BT PR | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet
More information on
Naveo®Pro technology

## Slide 194: WEATHERFORCE
IR2
Home
Function
Weatherforce
Product Page
Order Code | GID Number | Description | Technology | 
Exit sign |  |  |  | 
IR2WWA3LS1X | 7TCA091170R0038 | LED 2W M3 W/FORCE WHT/NO DIFF IR2 | IR2 | Self contained
Escape route |  |  |  | 
IR2WWA3LS1 | 7TCA091170R0036 | LED 2W M3 W/FORCE WHT/OPL IR2 | IR2 | Self contained
IR2WWA3LS11 | 7TCA091170R0037 | LED 2W M3 W/FORCE WHT/PRIS IR2 | IR2 | Self contained
Click on any item to access product sheet
More information on
IR2 technology

## Slide 195: WEATHERFORCE
Emex test
Home
Function
Weatherforce
Product Page
Order Code | GID Number | Description | Technology | 
Exit sign |  |  |  | 
LTCWWA1LS1X | 7TCA091140R0543 | LED 2W LTC W/FORCE WHT/NO DIFF LTC | Emex test | Slave
Escape route |  |  |  | 
LTCWWA1LS1 | 7TCA091140R0541 | LED 2W LTC W/FORCE WHT/OPL LTC | Emex test | Slave
LTCWWA1LS11 | 7TCA091140R0542 | LED 2W LTC W/FORCE WHT/PRIS LTC | Emex test | Slave
Click on any item to access product sheet
More information on
EMEX test

## Slide 196: WEATHERFORCE
Standard
Home
Function
Weatherforce
Product Page
Order Code | GID Number | Description | Technology | 
Exit sign |  |  |  | 
WWA1LS1X | 7TCA091130R0551 | LED 2W HF W/FORCE WHT/NO DIFF | Standard | Slave
WWA8LS1X | 7TCA091130R0554 | LED 1W 24-50VACDC W/FORCE WHT/NO DIFF | Standard | Slave
Escape route |  |  |  | 
WWA1LS1 | 7TCA091130R0549 | LED 2W HF W/FORCE WHT/OPL | Standard | Slave
WWA1LS11 | 7TCA091130R0550 | LED 2W HF W/FORCE WHT/PRIS | Standard | Slave
WWA8LS1 | 7TCA091130R0552 | LED 1W 24-50VACDC W/FORCE WHT/OPL | Standard | Slave
WWA8LS11 | 7TCA091130R0553 | LED 1W 24-50VACDC W/FORCE WHT/PRIS | Standard | Slave
Click on any item to access product sheet

## Slide 197: WEATHERFORCE
DALI
Home
Function
Weatherforce
Product Page
Order Code | GID Number | Description | Technology | 
DAWWA3LS1 | 7TCA305025R0035 | XTE9000S-M3/DALI OP | DALI | Self Contained
DAWWA3LS11 | 7TCA305025R0038 | XTE9000S-M3/DALI PR | DALI | Self Contained
Click on any item to access product sheet

## Slide 198: SERENGA 2
Self test
Home
Function
Serenga 2
Product Page
Order Code | GID Number | Description | Technology | 
SR2-SEM3-A1 | 7TCA091160R0431 | SFC M3 AUTOTST ESC-L4M WH | Self test | Self contained
Click on any item to access product sheet
More information on
Self test technology

## Slide 199: SERENGA 2
Naveo®Pro
Home
Function
Serenga 2
Product Page
Click on any item to access product sheet
More information on
Naveo®Pro technology
 | Order Code | GID Number | Description | Technology
Surface mount |  |  |  | 
CTSR2-SEM3-A1 | 7TCA091180R0234 | SFC M3 CT-NAVEO ESC-L4M WH | Naveo®Pro WIRED | Self contained
Recessed – square shaped |  |  |  | 
CTSR2Q-DEA-M3 | 7TCA091180R0237 | REC-SQ M3 CT-NAVEO ESC-L4M WH | Naveo®Pro WIRED | Self contained
Recessed – round shaped |  |  |  | 
CTSR2-DEA-M3 | 7TCA091180R0236 | REC M3 CT-NAVEO ESC-L4M WH | Naveo®Pro WIRED | Self contained
Surface |  |  |  | 
5520237151/50BT | 7TCA305020R0242 | EL2200S-M3/BT ER | Naveo®Pro WIRELESS | Self contained
5520237158/50BT | 7TCA305020R0243 | EL2200S-M3/BT HE | Naveo®Pro WIRELESS | Self contained
5520237159/50BT | 7TCA305020R0244 | EL2200S-M3/BT HO | Naveo®Pro WIRELESS | Self contained
5520237154/50BT | 7TCA305020R0245 | EL2200S-M3/BT OA | Naveo®Pro WIRELESS | Self contained
5523237157/50BT | 7TCA305020R0246 | EL2200W-M3/BT S | Naveo®Pro WIRELESS | Self contained
Recessed |  |  |  | 
5520237161/50BT | 7TCA305020R0213 | EL2200R-M3/BT ER | Naveo®Pro WIRELESS | Self contained
5520237164/50BT | 7TCA305020R0214 | EL2200R-M3/BT OA | Naveo®Pro WIRELESS | Self contained
5520237171/50BT | 7TCA305020R0215 | EL2200RQ-M3/BT ER | Naveo®Pro WIRELESS | Self contained
5520237174/50BT | 7TCA305020R0216 | EL2200RQ-M3/BT OA | Naveo®Pro WIRELESS | Self contained

## Slide 200: SERENGA 2
Emex test
Home
Function
Serenga 2
Product Page
Order Code | GID Number | Description | Technology | 
SR2-SE230LT-A1 | 7TCA091180R0238 | SFC 230V EMEX ESC-L4M WH | Emex test | Slave
Click on any item to access product sheet
More information on
EMEX test

## Slide 201: SERENGA 2
Standard
Home
Function
Serenga 2
Product Page
Order Code | GID Number | Description | Technology | 
SR2-SE230-A1 | 7TCA091130R0465 | SFC 230V ESC-L4M WH | Standard | Slave
Click on any item to access product sheet

## Slide 202: SERENGA 2
DALI
Home
Function
Serenga 2
Product Page
Order Code | GID Number | Description | Technology | 
DASR2-SEM3-A1 | 7TCA091180R0345 | SFC M3 DALI ESC-L4M WH | DALI | Self contained
Click on any item to access product sheet
More information on
DALI technology

## Slide 203: CAMARQUE
Self test
Home
Function
Camarque
Product Page
Order Code | GID Number | Description | Technology | 
STCLQ4LA1 | 7TCA091160R0566 | CLQ LED 2D WH/OPAL SLFTST | Self test | Self contained
Click on any item to access product sheet
More information on
Self test technology

## Slide 204: CAMARQUE
Naveo®Pro
Home
Function
Camarque
Product Page
Order Code | GID Number | Description | Technology | 
CTCLQ4LA1 | 7TCA091180R0347 | CLQ LED 2D WH/OPAL CT | Naveo®Pro WIRED | Self contained
Click on any item to access product sheet
More information on
Naveo®Pro technology

## Slide 205: CAMARQUE
IR2
Home
Function
Camarque
Product Page
Order Code | GID Number | Description | Technology | 
IR2CLQ4LA1 | 7TCA091170R0031 | CLQ LED 2D WH/OPAL IR2 | IR2 | Self contained
Click on any item to access product sheet
More information on
IR2 technology

## Slide 206: CAMARQUE
Emex test
Home
Function
Camarque
Product Page
Order Code | GID Number | Description | Technology | 
LTCCLQ1LA1 | 7TCA091140R0536 | CLQ LED 2D WH/OPAL LTC | Emex test | Slave
Click on any item to access product sheet
More information on
EMEX test

## Slide 207: CAMARQUE
Standard
Home
Function
Camarque
Product Page
Order Code | GID Number | Description | Technology | 
CLQ1LA1 | 7TCA091130R0542 | CLQ LED 2D WH/OPAL HF | Standard | Slave
Click on any item to access product sheet

## Slide 208: CORDONA
Self test
Home
Function
Cordona
Product Page
Order Code | GID Number | Description | Technology | 
STCPW4LA1 | 7TCA091160R0567 | LED 2D M3 WH/OPL-OPT SLFTST | Self test | Self contained
STCPW4LA11 | 7TCA091160R0568 | LED 2D M3 WH/CLR-OPT SLFTST | Self test | Self contained
Click on any item to access product sheet
More information on
Self test technology

## Slide 209: CORDONA
Naveo®Pro
Home
Function
Cordona
Product Page
Order Code | GID Number | Description | Technology | 
CTCPW4LA1 | 7TCA091180R0348 | LED 2D M3 WH/OPL-OPT CT | Naveo®Pro WIRED | Self contained
CTCPW4LA11 | 7TCA091180R0349 | LED 2D M3 WH/CLR-OPT CT | Naveo®Pro WIRED | Self contained
CTCPW4LA11BT | 7TCA305020R0202 | EL530S-M3/BT PR | Naveo®Pro WIRELESS | Self contained
CTCPW4LA1BT | 7TCA305020R0203 | EL530S-M3/BT OP | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet
More information on
Naveo®Pro technology

## Slide 210: CORDONA
IR2
Home
Function
Cordona
Product Page
Order Code | GID Number | Description | Technology | 
IR2CPW4LA1 | 7TCA091170R0032 | LED 2D M3 WH/OPL-OPT IR2 | IR2 | Self contained
IR2CPW4LA11 | 7TCA091170R0033 | LED 2D M3 WH/CLR-OPT IR2 | IR2 | Self contained
Click on any item to access product sheet
More information on
IR2 technology

## Slide 211: CORDONA
Emex test
Home
Function
Cordona
Product Page
Order Code | GID Number | Description | Technology | 
LTCCPW1LA1 | 7TCA091140R0537 | LED 2D WH/OPL-OPT LTC | Emex test | Slave
LTCCPW1LA11 | 7TCA091140R0538 | LED 2D WH/CLR-OPT LTC | Emex test | Slave
Click on any item to access product sheet
More information on
EMEX test

## Slide 212: CORDONA
Standard
Home
Function
Cordona
Product Page
Order Code | GID Number | Description | Technology | 
CPW1LA1 | 7TCA091130R0543 | LED 2D WH/OPL-OPT HF | Standard | Slave
CPW1LA11 | 7TCA091130R0544 | LED 2D WH/CLR-OPT HF | Standard | Slave
Click on any item to access product sheet

## Slide 213: CORDONA
DALI
Home
Function
Cordona
Product Page
Order Code | GID Number | Description | Technology | 
DACPW4LA1 | 7TCA305025R0029 | EL530S-M3/DALI OP | DALI | Self Contained
DACPW4LA11 | 7TCA305025R0032 | EL530S-M3/DALI PR | DALI | Self Contained
Click on any item to access product sheet

## Slide 214: HYLED
Self test
Home
Function
Hyled
Product Page
Order Code | GID Number | Description | Technology | 
HY3LA2 | 7TCA091720R0065 | HY-LED M/NM3 OA GY PC IP65 | Self test | Self contained
HY3LE2 | 7TCA091720R0064 | HY-LED M/NM3 ESC GY PC IP65 | Self test | Self contained
Click on any item to access product sheet
More information on
Self test technology

## Slide 215: HYLED
Naveo®Pro
Home
Function
Hyled
Product Page
Order Code | GID Number | Description | Technology | 
CTHY3LA2 | 7TCA091720R0080 | HY-LED CT-M/NM3 OA GY PC IP65 | Naveo®Pro WIRED | Self contained
CTHY3LE2 | 7TCA091720R0081 | HY-LED CT-M/NM3 ESC GY PC IP65 | Naveo®Pro WIRED | Self contained
CTHY3LA2BT | 7TCA305020R0347 | EL9300S-M3/BT OA | Naveo®Pro WIRELESS | Self contained
CTHY3LE2BT | 7TCA305020R0355 | EL9300S-M3/BT ER | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet
More information on
Naveo®Pro technology

## Slide 216: HYLED
Emex test
Home
Function
Hyled
Product Page
Order Code | GID Number | Description | Technology | 
HY1LA2LTC | 7TCA091720R0120 | HY-LED 230V50HZ LTC OA PC IP65 | Emex test | Slave
HY1LE2LTC | 7TCA091720R0119 | HY-LED 230V50HZ LTC ESC PC IP65 | Emex test | Slave
Click on any item to access product sheet
More information on
EMEX test

## Slide 217: HYLED
Standard
Home
Function
Hyled
Product Page
Order Code | GID Number | Description | Technology | 
HY1LA2HF | 7TCA091720R0105 | HY-LED 230V50HZ HF OA PC IP65 | Standard | Slave
HY1LE2HF | 7TCA091720R0104 | HY-LED 230V50HZ HF ESC PC IP65 | Standard | Slave
Click on any item to access product sheet

## Slide 218: HYLED
DALI
Home
Function
Hyled
Product Page
Order Code | GID Number | Description | Technology | 
DAHY3LA2 | 7TCA305025R0047 | HY-LED DALI-M/NM3 OA GY PC IP65 | DALI | Self Contained
DAHY3LE2 | 7TCA305025R0048 | HY-LED DALI-M/NM3 ESC GY PC IP65 | DALI | Self Contained
11370047/50 | 7TCA305025R0045 | EL9300S-M3/DALI ER | DALI | Self Contained
11370057/50 | 7TCA305025R0046 | EL9300S-M3/DALI OA | DALI | Self Contained
Click on any item to access product sheet

## Slide 219: LUTIA
Naveo®Pro
Home
Function
Lutia
Product Page
Order Code | GID Number | Description | Technology | 
CTLU3LB1E | 7TCA305020R0003 | Lutia LED ESC M3 CT - Naveo | Naveo®Pro WIRED | Self contained
65760230/50BT | 7TCA309010R0071 | EL9400S-M3/BT ER | Naveo®Pro WIRELESS | Self contained
Click on any item to access product sheet
More information on
Naveo®Pro technology

## Slide 220: LUTIA
Self test
Home
Function
Lutia
Product Page
Order Code | GID Number | Description | Technology | 
STLU3LB1E | 7TCA091160R0597 | Lutia LED ESC M3 ST | Self test | Self contained
Click on any item to access product sheet
More information on
Self test technology

## Slide 221: LUTIA
Emex test
Home
Function
Lutia
Product Page
Order Code | GID Number | Description | Technology | 
LTCLU1LB1E | 7TCA091140R0556 | Lutia LED ESC 230V LTC | Emex test | Slave
Click on any item to access product sheet
More information on
EMEX test

## Slide 222: LUTIA
Standard
Home
Function
Lutia
Product Page
Order Code | GID Number | Description | Technology | 
LU1LB1E | 7TCA091130R0582 | Lutia LED ESC 230V | Standard | Slave
Click on any item to access product sheet

## Slide 223: LUTIA
DALI
Home
Function
Lutia
Product Page
Order Code | GID Number | Description | Technology | 
DALU3LB1E | 7TCA305020R0062 | Lutia LED ESC M3 DALI | DALI | Self contained
Click on any item to access product sheet

## Slide 224: MOVION
Naveo®Pro
Home
Function
Movion
Product Page
Order Code | GID Number | Description | Technology | 
411013411/50BT | 7TCA305020R0144 | XT800S-M3/BT 22M | Naveo®Pro WIRELESS | 
411113411/50BT | 7TCA305020R0145 | XTH800S-M3/BT 22M | Naveo®Pro WIRELESS | 
511013411/50BT | 7TCA305020R0148 | EL800S-M3/BT ER | Naveo®Pro WIRELESS | 
511013412/50BT | 7TCA305020R0149 | EL800S-M3/BT OA | Naveo®Pro WIRELESS | 
511013421/50BT | 7TCA305020R0150 | EL800R-M3/BT ER | Naveo®Pro WIRELESS | 
511013422/50BT | 7TCA305020R0151 | EL800R-M3/BT OA | Naveo®Pro WIRELESS | 
Click on any item to access product sheet

## Slide 225: Select your function
Exit sign
Escape route
General Lighting
Open area
Home

## Slide 226: Exit sign
Modularity & harmonious design
GUIDEWAY
Innovative & stylish
Clearly visible in daylight
Uniform light distribution
In harmony with interior spaces
Easy installation & maintenance
Industrial reliability
OVANO
Productivity & Reliability
Compatible with DALI control unit
Plug and play, maintained and non-maintained
SILVER SCAPE
Practical & everyday
Suitable for application in suspended ceilings
Optically engineered diffuser
Home
Functions
DAYLITE
Practical & durable
Sturdy, general use luminaire
Light optimized diffuser
NAVIGATOR COMPACT
Practical & everyday
Downlight panel provides additional illumination
Available in white, gold and stainless steel
WEATHERFORCE
Practical & durable
Simple vandal resistant design
Converts easily to exit sign with addition of self-adhesive legend
PRIMEVO
Productivity & reliability
Designed for escape route and open area lighting
Polycarbonate luminaire body
AQUALUX
Durable & high performance
Waterproof enclosures to IP65 & 67
Ease of maintenance with in-built Self-Test
INDULUX
Industrial & design
Mounting, wiring and expanding flexibility
Stainless steel solution resisting dust and water
Rapid maintenance

## Slide 227: General lighting
Modularity & harmonious design
Easy installation & maintenance
Home
Functions
CORDONA
Elegant LED lighting
Designed for escape route and open area lighting
Polycarbonate luminaire body
LUTIA
Reliable & robust
First-fix and loop-in, loop-out systems minimalize installation time
One product concept for both wall and ceiling mounted
Robust design developed for outdoor applications
CAMARQUE
Elegant LED lighting
Fire-resistant polycarbonate luminaire body
Semi-recessing accessory available

## Slide 228: Escape route
Modularity & harmonious design
Easy installation & maintenance
Industrial reliability
Home
Functions
HYLED
Flexible & powerful
360 degrees turnable lamp unit, steady in position
High ceilings industrial environments
SILVER SCAPE
Practical & everyday
Suitable for application in suspended ceilings
Optically engineered diffuser
LUTIA
Reliable & robust
One product concept for both wall & ceiling mounted
Robust design developed for outdoor applications
CAMARQUE
Elegant LED lighting
Fire-resistant polycarbonate luminaire body
Semi-recessing accessory available
SERENGA 2
Project covering & stylish
Up to 12m height
Long or wide beam + wall version
OVANO
Productivity & Reliability
Compatible with DALI control unit
Plug and play, maintained and non-maintained
AQUALUX
Durable & high performance
Waterproof enclosures to IP65 & 67
Ease of maintenance with in-built Self-Test
WEATHERFORCE
Practical & durable
Simple vandal resistant design
Converts easily to exit sign with addition of self-adhesive legend
INDULUX
Industrial & design
Mounting, wiring and expanding flexibility
Stainless steel solution resisting dust and water
CORDONA
Elegant LED lighting
Designed for escape route & open area lighting
Polycarbonate luminaire body
DAYLITE
Practical & durable
Sturdy, general use luminaire
Light optimized diffuser
PRIMEVO
Productivity & reliability
Available at your local wholesaler
Plug and play, maintained and non-maintained
Full LED range with best price / performance ratio
MIREVO TWINSPOT
Compact & reliable
Full adjustable heads with 140] beam angle
Available with Lithium Ferro phosphate battery technology for a longer service life

## Slide 229: Open area
Modularity & harmonious design
Easy installation & maintenance
Industrial reliability
Home
Functions
HYLED
Flexible & powerful
360 degrees turnable lamp unit, steady in position
High ceilings industrial environments
SILVER SCAPE
Practical & everyday
Suitable for application in suspended ceilings
Optically engineered diffuser
LUTIA
Reliable & robust
One product concept for both wall & ceiling mounted
Robust design developed for outdoor applications
CAMARQUE
Elegant LED lighting
Fire-resistant polycarbonate luminaire body
Semi-recessing accessory available
SERENGA 2
Project covering & stylish
Up to 12m height
Long or wide beam + wall version
OVANO
Productivity & Reliability
Compatible with DALI control unit
Plug and play, maintained and non-maintained
AQUALUX
Durable & high performance
Waterproof enclosures to IP65 & 67
Ease of maintenance with in-built Self-Test
WEATHERFORCE
Practical & durable
Simple vandal resistant design
Converts easily to exit sign with addition of self-adhesive legend
INDULUX
Industrial & design
Mounting, wiring and expanding flexibility
Stainless steel solution resisting dust and water
Rapid maintenance
CORDONA
Elegant LED lighting
Designed for escape route & open area lighting
Polycarbonate luminaire body
DAYLITE
Practical & durable
Sturdy, general use luminaire
Light optimized diffuser
PRIMEVO
Productivity & reliability
Available at your local wholesaler
Plug and play, maintained and non-maintained
Full LED range with best price / performance ratio
MIREVO TWINSPOT
Compact & reliable
Full adjustable heads with 140] beam angle
Available with Lithium Ferro phosphate battery technology for a longer service life

## Slide 230: Select your product
Home
Movion

## Slide 231: Basic terminology
ABB Emergi-Lite
CT : Addressable Centrel / Naveo systems
ST/ZT: Self-Test
DA : DALI system
SR : Serenga range of products
SR2 : New Serenga range of products
M : Maintained
NM : Non maintained
IR2 : Infrared – operate with Remote
LT : Lamp Test Control (addressable)
HF : High frequency
DAE : DALI