## Slide 1: ReliaHomeTM Smart Panel
Product family overview
ELSB_DOC. ID: 1TQC244200E0001 REV. A, APRIL 2024

## Slide 2: ReliaHomeTM Smart Panel
Family overview
 | ReliaHome™ Smart Panel
Application | New home construction and retrofit
Installation type | Wall-mount; indoor only
AC Voltage | 120/240 VAC Split phase, 50-60HZ
Supply Breaker Rating | 15–20 A (non-GFCI)
Connection Options | Wi-Fi or Ethernet
Supply Amperage | 0.4A (Maximum)
Standby Power | 6W
Safety Compliance | Listed to UL and CSA C22.2: 61010-1 & 61010-2-030
Warranty | 10-years limited
Accessories | ReliaHome™ Smart Panel
Temp Power Kit | ●
Spare 200A CTs | ●